## tank
QAQC | sample_no | reserve_code | station_code | datetime_collected | field_notes | rep | datetime_filtered | datetime_extracted | datetime_analyzed | chla_ugL | chla_RFU | remarks | sonde_start_time_24hr | sonde_end_time_24hr | Depth | F_Depth | fDOMQSU | F_fDOMQSU | fDOMRFU | F_fDOMRFU | DO_pct | F_DO_pct | DO_mgl | F_DO_mgl | Sal | F_Sal | SpCond | F_SpCond | Turb | F_Turb | pH | F_pH | Temp | F_Temp | ChlorophyllRFU | F_ChlorophyllRFU | ChlFluor | F_ChlFluor | EXO_filename
0 | 1 | grb | grbapwq | 2021-06-07 10:30 | AP high tide | 1 | 2021-06-07 11:19 | 2021-06-14 12:30 | 2021-06-15 13:30 | 2.0677 | 72.71 | fDOM RFU not calibrated | 10:43 | 11:39 | 0.02285 | <0> | 13.0317 | <0> |  | <-2> | 103.4 | <0> | 7.93 | <0> | 26.23 | <0> | 40.904 | <0> | 3.4703 | <0> | 8.42 | <0> | 20.8204 | <0> | 0.71 | <0> | 2.7565 | <0> | grbap_tank1_060721
0 | 1 | grb | grbapwq | 2021-06-07 10:30 | AP high tide | 2 | 2021-06-07 11:24 | 2021-06-14 12:30 | 2021-06-15 13:30 | 1.9643 | 69.08 | fDOM RFU not calibrated | 10:43 | 11:39 | 0.022 | <0> | 13.0133 | <0> |  | <-2> | 103.4 | <0> | 7.9287 | <0> | 26.23 | <0> | 40.9037 | <0> | 3.4473 | <0> | 8.42 | <0> | 20.8507 | <0> | 0.6985 | <0> | 2.7087 | <0> | grbap_tank1_060721
0 | 1 | grb | grbapwq | 2021-06-07 10:30 | AP high tide | 3 | 2021-06-07 11:28 | 2021-06-14 12:30 | 2021-06-15 13:30 | 2.0896 | 73.48 | fDOM RFU not calibrated | 10:43 | 11:39 | 0.022 | <0> | 12.964 | <0> |  | <-2> | 103.3817 | <0> | 7.92 | <0> | 26.23 | <0> | 40.9045 | <0> | 3.4372 | <0> | 8.42 | <0> | 20.876 | <0> | 0.70467 | <0> | 2.7353 | <0> | grbap_tank1_060721
0 | 2 | grb | grbapwq | 2021-06-07 14:00 | Mid-tide | 1 | 2021-06-07 14:57 | 2021-06-14 12:30 | 2021-06-15 13:30 | 2.0235 | 71.16 | fDOM RFU not calibrated | 14:38 | 15:20 | 0.0057333 | <0> | 12.3575 | <0> |  | <-2> | 103.8 | <0> | 7.9702 | <0> | 26.376 | <0> | 41.1115 | <0> | 3.17 | <0> | 8.42 | <0> | 20.708 | <0> | 0.81417 | <0> | 3.1793 | <0> | grbap_tank2_060721
0 | 2 | grb | grbapwq | 2021-06-07 14:00 | Mid-tide | 2 | 2021-06-07 15:02 | 2021-06-14 12:30 | 2021-06-15 13:30 | 2.1389 | 75.21 | fDOM RFU not calibrated | 14:38 | 15:20 | 0.0025333 | <0> | 12.3408 | <0> |  | <-2> | 103.8 | <0> | 7.97 | <0> | 26.3715 | <0> | 41.1107 | <0> | 3.1543 | <0> | 8.4173 | <0> | 20.7354 | <0> | 0.80517 | <0> | 3.1402 | <0> | grbap_tank2_060721
0 | 2 | grb | grbapwq | 2021-06-07 14:00 | Mid-tide | 3 | 2021-06-07 15:06 | 2021-06-14 12:30 | 2021-06-15 13:30 | 2.2736 | 79.94 | fDOM RFU not calibrated | 14:38 | 15:20 | 0.003 | <0> | 12.3165 | <0> |  | <-2> | 103.8 | <0> | 7.96 | <0> | 26.3792 | <0> | 41.1125 | <0> | 3.1147 | <0> | 8.42 | <0> | 20.7582 | <0> | 0.81183 | <0> | 3.1663 | <0> | grbap_tank2_060721
0 | 3 | grb | grbapwq | 2021-06-24 08:30 | AP low tide | 1 | 2021-06-24 09:11 | 2021-07-21 12:30 | 2021-07-22 13:30 | 4.635 | 162.86 | fDOM RFU not calibrated | 8:43 | 9:25 | 0.161 | <0> | 7.6852 | <0> |  | <-2> | 102.9 | <0> | 7.76 | <0> | 29.11 | <0> | 44.9265 | <0> | 4.4572 | <0> | 8.85 | <0> | 20.8354 | <0> | 1.3058 | <0> | 5.63 | <0> | grbap_tank_062421
0 | 3 | grb | grbapwq | 2021-06-24 08:30 | AP low tide | 2 | 2021-06-24 09:15 | 2021-07-21 12:30 | 2021-07-22 13:30 | 4.4476 | 156.28 | fDOM RFU not calibrated | 8:43 | 9:25 | 0.1627 | <0> | 7.6693 | <0> |  | <-2> | 102.9 | <0> | 7.75 | <0> | 29.11 | <0> | 44.9261 | <0> | 4.504 | <0> | 8.85 | <0> | 20.8605 | <0> | 1.3183 | <0> | 5.6802 | <0> | grbap_tank_062421
0 | 3 | grb | grbapwq | 2021-06-24 08:30 | AP low tide | 3 | 2021-06-24 09:19 | 2021-07-21 12:30 | 2021-07-22 13:30 | 4.4176 | 155.23 | fDOM RFU not calibrated | 8:43 | 9:25 | 0.16212 | <0> | 7.6878 | <0> |  | <-2> | 102.9 | <0> | 7.75 | <0> | 29.11 | <0> | 44.9264 | <0> | 4.3988 | <0> | 8.85 | <0> | 20.8853 | <0> | 1.3198 | <0> | 5.6872 | <0> | grbap_tank_062421
0 | 4 | grb | grbapwq | 2021-06-28 10:45 | AP low tide | 1 | 2021-06-28 11:22 | 2021-07-21 12:30 | 2021-07-22 13:30 | 4.3803 | 153.92 | fDOM RFU not calibrated | 11:00 | 11:36 | 0.075483 | <0> | 6.4813 | <0> |  | <-2> | 104.8 | <0> | 7.64 | <0> | 29.64 | <0> | 45.6858 | <0> | 4.1803 | <0> | 9.13 | <0> | 22.5231 | <0> | 1.0105 | <0> | 4.3755 | <0> | grbap_tank_062821
0 | 4 | grb | grbapwq | 2021-06-28 10:45 | AP low tide | 2 | 2021-06-28 11:27 | 2021-07-21 12:30 | 2021-07-22 13:30 | 4.6646 | 163.9 | fDOM RFU not calibrated | 11:00 | 11:36 | 0.07 | <0> | 6.5028 | <0> |  | <-2> | 104.7317 | <0> | 7.64 | <0> | 29.6388 | <0> | 45.6832 | <0> | 4.1877 | <0> | 9.13 | <0> | 22.5374 | <0> | 1.0198 | <0> | 4.4178 | <0> | grbap_tank_062821
0 | 4 | grb | grbapwq | 2021-06-28 10:45 | AP low tide | 3 | 2021-06-28 11:31 | 2021-07-21 12:30 | 2021-07-22 13:30 | 4.576 | 160.79 | fDOM RFU not calibrated | 11:00 | 11:36 | 0.0677 | <0> | 6.4898 | <0> |  | <-2> | 104.7 | <0> | 7.63 | <0> | 29.635 | <0> | 45.6825 | <0> | 4.1552 | <0> | 9.1375 | <0> | 22.5477 | <0> | 1.0262 | <0> | 4.443 | <0> | grbap_tank_062821
0 | 5 | grb | grbsqwq | 2021-07-07 09:54 | SQ sample; water collected at 9:54; mid-tide | 1 | 2021-07-07 12:13 | 2021-07-21 12:30 | 2021-07-22 13:30 | 10.2723 | 360.77 | fDOM RFU not calibrated | 11:53 | 12:28 |  | <-2> | 36.3057 | <0> |  | <-2> | 102.7 | <0> | 7.12 | <0> | 23.07 | <0> | 36.594 | <0> | 5.8547 | <0> | 8.12 | <0> | 27.5983 | <0> | 2.0692 | <0> | 8.8623 | <0> | grbsq_tank_070721
0 | 5 | grb | grbsqwq | 2021-07-07 09:54 | SQ sample; water collected at 9:54 | 2 | 2021-07-07 12:18 | 2021-07-21 12:30 | 2021-07-22 13:30 | 9.9413 | 349.15 | fDOM RFU not calibrated | 11:53 | 12:28 |  | <-2> | 36.3354 | <0> |  | <-2> | 102.5254 | <0> | 7.11 | <0> | 23.07 | <0> | 36.5934 | <0> | 5.7054 | <0> | 8.12 | <0> | 27.5657 | <0> | 2.0788 | <0> | 8.9031 | <0> | grbsq_tank_070721
0 | 5 | grb | grbsqwq | 2021-07-07 09:54 | SQ sample; water collected at 9:54 | 3 | 2021-07-07 12:22 | 2021-07-21 12:30 | 2021-07-22 13:30 | 10.1496 | 356.46 | fDOM RFU not calibrated | 11:53 | 12:28 |  | <-2> | 36.3586 | <0> |  | <-2> | 102.4328 | <0> | 7.11 | <0> | 23.07 | <0> | 36.5928 | <0> | 5.7695 | <0> | 8.12 | <0> | 27.5462 | <0> | 2.1053 | <0> | 9.0143 | <0> | grbsq_tank_070721
0 | 6 | grb | grbapwq | 2021-07-08 12:45 | AP high tide | 1 | 2021-07-08 13:12 | 2021-07-21 12:30 | 2021-07-22 13:30 | 6.0549 | 212.71 | fDOM RFU not calibrated | 13:07 | 13:24 |  | <-2> | 11.7782 | <0> |  | <-2> | 104.1 | <0> | 7.98 | <0> | 27.9712 | <0> | 43.3443 | <0> | 2.2215 | <0> | 8.65 | <0> | 20.3326 | <0> | 1.4283 | <0> | 6.1468 | <0> | grbap_tank_070821
0 | 6 | grb | grbapwq | 2021-07-08 12:45 | AP high tide | 2 | 2021-07-08 13:16 | 2021-07-21 12:30 | 2021-07-22 13:30 | 6.2307 | 218.88 | fDOM RFU not calibrated | 13:07 | 13:24 |  | <-2> | 11.7612 | <0> |  | <-2> | 104.1831 | <0> | 7.98 | <0> | 27.9742 | <0> | 43.3458 | <0> | 2.2322 | <0> | 8.65 | <0> | 20.3651 | <0> | 1.4093 | <0> | 6.0647 | <0> | grbap_tank_070821
0 | 6 | grb | grbapwq | 2021-07-08 12:45 | AP high tide | 3 | 2021-07-08 13:20 | 2021-07-21 12:30 | 2021-07-22 13:30 | 5.7524 | 202.09 | fDOM RFU not calibrated | 13:07 | 13:24 |  | <-2> | 11.754 | <0> |  | <-2> | 104.2 | <0> | 7.97 | <0> | 27.98 | <0> | 43.3471 | <0> | 2.1931 | <0> | 8.64 | <0> | 20.3967 | <0> | 1.4584 | <0> | 6.2736 | <0> | grbap_tank_070821
0 | 7 | grb | grbapwq | 2021-08-13 10:15 | AP low tide; water collected at 10:15, heat wave | 1 | 2021-08-13 11:07 | 2021-08-25 12:30 | 2021-08-26 13:30 | 6.6018 | 232.64 | fDOM RFU not calibrated | 10:50 | 11:29 | 0.061 | <0> | 44.5268 | <0> |  | <-2> | 97.6 | <0> | 7.29 | <0> | 21.88 | <0> | 34.7713 | <0> | 2.457 | <0> | 8.05 | <-3> [SDG] (CSM) | 23.6692 | <0> | 1.6277 | <0> | 6.4822 | <0> | grbap_tank_081321
0 | 7 | grb | grbapwq | 2021-08-13 10:15 | AP low tide; water collected at 10:15, heat wave | 2 | 2021-08-13 11:11 | 2021-08-25 12:30 | 2021-08-26 13:30 | 6.4927 | 228.81 | fDOM RFU not calibrated | 10:50 | 11:29 | 0.057 | <0> | 44.5615 | <0> |  | <-2> | 97.6 | <0> | 7.29 | <0> | 21.88 | <0> | 34.7709 | <0> | 2.3988 | <0> | 8.05 | <-3> [SDG] (CSM) | 23.6729 | <0> | 1.6232 | <0> | 6.4649 | <0> | grbap_tank_081321
0 | 8 | grb | grbsqwq | 2021-08-20 10:00 | SQ sample; water collected at 10:00, HT at 11:20 est, rain night before; fDOM sample taken | 1 | 2021-08-20 12:14 | 2021-08-25 12:30 | 2021-08-26 13:30 | 7.1208 | 250.86 | fDOM RFU not calibrated | 12:02 | 12:42 | 0.0007 | <0> | 44.1498 | <0> |  | <-2> | 93.1 | <0> | 6.72 | <0> | 21.63 | <0> | 34.4722 | <0> | 4.7127 | <0> | 7.81 | <-3> [SDG] (CSM) | 25.687 | <0> | 1.7058 | <0> | 6.7952 | <0> | grbsq_tank_082021
0 | 8 | grb | grbsqwq | 2021-08-20 10:00 | SQ sample; water collected at 10:00, HT at 11:20 est, rain night before | 2 | 2021-08-20 12:27 | 2021-08-25 12:30 | 2021-08-26 13:30 | 7.1484 | 251.83 | fDOM RFU not calibrated | 12:02 | 12:42 | -0.017 | <0> | 44.2332 | <0> |  | <-2> | 93 | <0> | 6.72 | <0> | 21.63 | <0> | 34.4708 | <0> | 4.6041 | <0> | 7.82 | <-3> [SDG] (CSM) | 25.6614 | <0> | 1.7286 | <0> | 6.8888 | <0> | grbsq_tank_082021
0 | 8 | grb | grbsqwq | 2021-08-20 10:00 | SQ sample; water collected at 10:00, HT at 11:20 est, rain night before | 3 | 2021-08-20 12:31 | 2021-08-25 12:30 | 2021-08-26 13:30 | 7.4868 | 263.71 | fDOM RFU not calibrated | 12:02 | 12:42 | -0.022 | <0> | 44.2512 | <0> |  | <-2> | 93 | <0> | 6.72 | <0> | 21.63 | <0> | 34.4706 | <0> | 4.6672 | <0> | 7.82 | <-3> [SDG] (CSM) | 25.655 | <0> | 1.7441 | <0> | 6.9495 | <0> | grbsq_tank_082021
0 | 9 | grb | grbsqwq | 2021-08-31 09:20 | SQ sample; water collected at 9:20, HT at 7:47 est; fDOM sample taken at 12:36 | 1 | 2021-08-31 12:36 | 2021-09-27 12:00 | 2021-09-28 12:30 | 20.4116 | 716.73 | fDOM RFU not calibrated | 12:00 | 13:04 | -0.0641 | <0> | 65.34 | <0> |  | <-2> | 90.3 | <0> | 7.27 | <0> | 19.84 | <0> | 31.7638 | <0> | 2.9843 | <0> | 8.19 | <-3> [SDG] (CSM) | 20.2287 | <0> | 3.8963 | <0> | 15.7282 | <0> | grbsq_tank_083121
0 | 9 | grb | grbsqwq | 1931-08-31 09:20 | SQ sample; water collected at 9:20, HT at 7:47 est | 2 | 2021-08-31 12:50 | 2021-09-27 12:00 | 2021-09-28 12:30 | 17.7512 | 623.33 | fDOM RFU not calibrated | 12:00 | 13:04 | -0.08 | <0> | 65.2915 | <0> |  | <-2> | 90.5 | <0> | 7.27 | <0> | 19.84 | <0> | 31.7646 | <0> | 2.9631 | <0> | 8.21 | <-3> [SDG] (CSM) | 20.343 | <0> | 3.9183 | <0> | 15.818 | <0> | grbsq_tank_083121
0 | 9 | grb | grbsqwq | 2021-08-31 09:20 | SQ sample; water collected at 9:20, HT at 7:47 est | 3 | 2021-08-31 12:54 | 2021-09-27 12:00 | 2021-09-28 12:30 | 20.288 | 712.39 | fDOM RFU not calibrated | 12:00 | 13:04 | -0.084 | <0> | 65.2952 | <0> |  | <-2> | 90.5 | <0> | 7.27 | <0> | 19.84 | <0> | 31.7655 | <0> | 2.9379 | <0> | 8.21 | <-3> [SDG] (CSM) | 20.3762 | <0> | 3.8345 | <0> | 15.4797 | <0> | grbsq_tank_083121
0 | 10 | grb | grborwq | 2021-09-07 10:55 | OR sample; HT at 13:30 est; fDOM sample taken at 12:46 | 1 | 2021-09-07 12:46 | 2021-09-27 12:00 | 2021-09-28 12:30 | 59.7534 | 2097.9 | fDOM RFU not calibrated | 12:26 | 13:28 | -0.01248 | <0> | 73.8565 | <0> |  | <-2> | 96.7883 | <0> | 7.71 | <0> | 15.96 | <0> | 26.0703 | <0> | 7.1072 | <0> | 8.1198 | <-3> [SDG] (CSM) | 22.0312 | <0> | 10.5 | <0> | 42.2915 | <0> | grbor_tank_090721
0 | 10 | grb | grborwq | 2021-09-07 10:55 | OR sample; HT at 13:30 est | 2 | 2021-09-07 13:18 | 2021-09-27 12:00 | 2021-09-28 12:30 | 54.1155 | 1899.97 | fDOM RFU not calibrated | 12:26 | 13:28 | -0.01492 | <0> | 74.0429 | <0> |  | <-2> | 96.0847 | <0> | 7.63 | <0> | 15.96 | <0> | 26.0726 | <0> | 6.6392 | <0> | 8.11 | <-3> [SDG] (CSM) | 22.1737 | <0> | 10.9832 | <0> | 44.2336 | <0> | grbor_tank_090721
0 | 10 | grb | grborwq | 2021-09-07 10:55 | OR sample; HT at 13:30 est | 3 | 2021-09-07 13:22 | 2021-09-27 12:00 | 2021-09-28 12:30 | 52.3187 | 1836.89 | fDOM RFU not calibrated | 12:26 | 13:28 | -0.01445 | <0> | 73.9779 | <0> |  | <-2> | 96 | <0> | 7.62 | <0> | 15.96 | <0> | 26.0738 | <0> | 6.6657 | <0> | 8.1038 | <-3> [SDG] (CSM) | 22.1888 | <0> | 11.4767 | <0> | 46.2176 | <0> | grbor_tank_090721
0 | 11 | grb | grbapmwq | 2021-09-08 09:15 | APM sample, LT at 8:15 est, site smelled of surfur | 1 | 2021-09-08 11:17 | 2021-09-27 12:00 | 2021-09-28 12:30 | 27.8022 | 976.19 | fDOM RFU not calibrated | 10:44 | 11:26 | -0.0309 | <0> | 74.4162 | <0> |  | <-2> | 81.3 | <0> | 6.32 | <0> | 17.81 | <0> | 28.8287 | <0> | 5.7363 | <0> | 8.7 | <-3> [SDG] (CSM) | 22.7504 | <0> | 5.0593 | <0> | 20.4085 | <0> | grbapm_tank_090821
0 | 12 | grb | grbapwq | 2021-09-15 07:30 | APM high tide sample; HT at 7:30 est | 1 | 2021-09-15 08:57 | 2021-09-27 12:00 | 2021-09-28 12:30 | 3.1638 | 111.21 | fDOM RFU not calibrated | 8:41 | 9:06 | 0.001817 | <0> | 48.4792 | <0> |  | <-2> | 94.3 | <0> | 7.9 | <0> | 22.73 | <0> | 35.9261 | <0> | 2.2878 | <0> | 8.42 | <-3> [SDG] (CSM) | 17.3049 | <0> | 1.0557 | <0> | 4.3048 | <0> | grbap_tank_091521
0 | 12 | grb | grbapwq | 2021-09-15 07:30 | APM high tide sample; HT at 7:30 est | 2 | 2021-09-15 09:01 | 2021-09-27 12:00 | 2021-09-28 12:30 | 2.9689 | 104.37 | fDOM RFU not calibrated | 8:41 | 9:06 | 0.001 | <0> | 48.4537 | <0> |  | <-2> | 94.4 | <0> | 7.9 | <0> | 22.7302 | <0> | 35.9277 | <0> | 2.2407 | <0> | 8.4093 | <-3> [SDG] (CSM) | 17.3617 | <0> | 1.0767 | <0> | 4.3913 | <0> | grbap_tank_091521
0 | 13 | grb | grbsqwq | 2021-09-17 09:30 | SQ high tide sample; HT 10:15 est | 1 | 2021-09-17 11:34 | 2021-09-27 12:00 | 2021-09-28 12:30 | 9.0771 | 318.81 | fDOM RFU not calibrated | 11:27 | 12:00 | 0.1346 | <0> | 75.2455 | <0> |  | <-2> | 92.7 | <0> | 7.86 | <0> | 16.75 | <0> | 27.213 | <0> | 4.6678 | <0> | 8.1 | <-3> [SDG] (CSM) | 18.5089 | <0> | 2.5008 | <0> | 10.1133 | <0> | grbsq_tank_091721
0 | 13 | grb | grbsqwq | 2021-09-17 09:30 | SQ high tide sample; HT 10:15 est | 2 | 2021-09-17 11:49 | 2021-09-27 12:00 | 2021-09-28 12:30 | 11.4735 | 402.94 | fDOM RFU not calibrated | 11:27 | 12:00 | 0.127 | <0> | 75.2537 | <0> |  | <-2> | 92.705 | <0> | 7.8378 | <0> | 16.7572 | <0> | 27.2177 | <0> | 4.6563 | <0> | 8.0998 | <-3> [SDG] (CSM) | 18.6835 | <0> | 2.646 | <0> | 10.6985 | <0> | grbsq_tank_091721
0 | 13 | grb | grbsqwq | 2021-09-17 09:30 | SQ high tide sample; HT 10:15 est | 3 | 2021-09-17 11:54 | 2021-09-27 12:00 | 2021-09-28 12:30 | 10.4968 | 368.65 | fDOM RFU not calibrated | 11:27 | 12:00 | 0.126 | <0> | 75.2362 | <0> |  | <-2> | 92.8283 | <0> | 7.8385 | <0> | 16.7552 | <0> | 27.217 | <0> | 4.6518 | <0> | 8.09 | <-3> [SDG] (CSM) | 18.7411 | <0> | 2.6147 | <0> | 10.5743 | <0> | grbsq_tank_091721
0 | 14 | grb | grbapwq | 2021-09-22 08:15 | AP low tide sample, LT 7:50 est; overlapped fDOM and ChlA1 sample | 1 | 2021-09-22 10:46 | 2021-09-27 12:00 | 2021-09-28 12:30 | 6.3851 | 224.3 | fDOM RFU not calibrated | 10:14 | 11:03 | 0.083 | <0> | 42.1552 | <0> |  | <-2> | 95.7983 | <0> | 8.0108 | <0> | 22.85 | <0> | 36.0934 | <0> | 2.557 | <0> | 8.3673 | <-3> [SDG] (CSM) | 17.3116 | <0> | 1.7147 | <0> | 6.9553 | <0> | grbap_tank_092221
0 | 14 | grb | grbapwq | 2021-09-22 08:15 | AP low tide sample, LT 7:50 est | 2 | 2021-09-22 10:54 | 2021-09-27 12:00 | 2021-09-28 12:30 | 6.0313 | 211.88 | fDOM RFU not calibrated | 10:14 | 11:03 | 0.081 | <0> | 42.1073 | <0> |  | <-2> | 95.9 | <0> | 8.01 | <0> | 22.85 | <0> | 36.0911 | <0> | 2.5537 | <0> | 8.37 | <-3> [SDG] (CSM) | 17.4304 | <0> | 1.7167 | <0> | 6.964 | <0> | grbap_tank_092221
0 | 14 | grb | grbapwq | 2021-09-22 08:15 | AP low tide sample, LT 7:50 est | 3 | 2021-09-22 10:58 | 2021-09-27 12:00 | 2021-09-28 12:30 | 6.4059 | 225.03 | fDOM RFU not calibrated | 10:14 | 11:03 | 0.081 | <0> | 42.0912 | <0> |  | <-2> | 96.0133 | <0> | 8.01 | <0> | 22.8497 | <0> | 36.0893 | <0> | 2.538 | <0> | 8.37 | <-3> [SDG] (CSM) | 17.492 | <0> | 1.6307 | <0> | 6.6182 | <0> | grbap_tank_092221
0 | 15 | grb | grbgbewq | 2021-09-23 09:45 | GBE sample, LT 8:40 est, choppy with winds ~10mph, depth ~3.5ft; overlapped fDOM and ChlGBE-1 sample | 1 | 2021-09-23 10:57 | 2021-09-27 12:00 | 2021-09-28 12:30 | 22.0421 | 773.97 | fDOM RFU not calibrated | 10:53 | 11:14 | 0.053 | <0> | 41.9066 | <0> |  | <-2> | 99.3 | <0> | 7.7586 | <0> | 22.5337 | <0> | 35.6661 | <0> | 3.0466 | <0> | 8.2259 | <-3> [SDG] (CSM) | 20.975 | <0> | 5.499 | <0> | 22.1734 | <0> | grbgbe_tank_092321
0 | 15 | grb | grbgbewq | 2021-09-23 09:45 | GBE sample, LT 8:40 est, choppy with winds ~10mph, depth ~3.5ft | 2 | 2021-09-23 11:05 | 2021-09-27 12:00 | 2021-09-28 12:30 | 22.6214 | 794.31 | fDOM RFU not calibrated | 10:53 | 11:14 | 0.052542 | <0> | 41.9791 | <0> |  | <-2> | 99.2746 | <0> | 7.75 | <0> | 22.5356 | <0> | 35.6672 | <0> | 2.9869 | <0> | 8.2456 | <-3> [SDG] (CSM) | 21.0328 | <0> | 5.5029 | <0> | 22.1915 | <0> | grbgbe_tank_092321
0 | 16 | grb | grbulbwq | 2021-09-27 12:00 | ULB sample; collected 12:00EST around low tide, ~3-4ft depth; overlapped fDOM and 1A | 1.1 | 2021-09-27 13:20 | 2021-10-04 12:30 | 2021-10-05 13:30 | 8.4069 | 295.23 | fDOM RFU not calibrated | 12:33 | 13:32 | -0.043 | <0> | 27.6707 | <0> |  | <-2> | 99.5 | <0> | 7.72 | <0> | 24.86 | <0> | 38.9723 | <0> | 1.5895 | <0> | 8.3343 | <-3> [SDG] (CSM) | 20.6511 | <0> | 1.7108 | <0> | 6.9402 | <0> | grbulb_tank_092721
0 | 16 | grb | grbulbwq | 2021-09-27 12:00 | ULB sample; collected 12:00EST around low tide, ~3-4ft depth | 1.2 | 2021-09-27 13:20 | 2021-10-04 12:30 | 2021-10-05 13:30 | 8.5117 | 298.91 | fDOM RFU not calibrated | 12:33 | 13:32 | -0.043 | <0> | 27.6707 | <0> |  | <-2> | 99.5 | <0> | 7.72 | <0> | 24.86 | <0> | 38.9723 | <0> | 1.5895 | <0> | 8.3343 | <-3> [SDG] (CSM) | 20.6511 | <0> | 1.7108 | <0> | 6.9402 | <0> | grbulb_tank_092721
0 | 17 | grb | grbgbewq | 2021-09-28 07:35 | GBE sample, collected 7:35EST (~1 hour after high); ~7ft depth | 1.1 | 2021-09-28 08:26 | 2021-10-04 12:30 | 2021-10-05 13:30 | 5.847 | 205.36 | fDOM RFU not calibrated | 8:12 | 8:38 | -0.05278 | <0> | 31.4213 | <0> |  | <-2> | 97.4967 | <0> | 7.7498 | <0> | 24.38 | <0> | 38.279 | <0> | 1.418 | <0> | 8.34 | <-3> [SDG] (CSM) | 19.5132 | <0> | 1.4325 | <0> | 5.812 | <0> | grbgbe_tank_092821
0 | 17 | grb | grbgbewq | 2021-09-28 07:35 | GBE sample, collected 7:35EST (~1 hour after high); ~7ft depth | 1.2 | 2021-09-28 08:26 | 2021-10-04 12:30 | 2021-10-05 13:30 | 5.3647 | 188.43 | fDOM RFU not calibrated | 8:12 | 8:38 | -0.05278 | <0> | 31.4213 | <0> |  | <-2> | 97.4967 | <0> | 7.7498 | <0> | 24.38 | <0> | 38.279 | <0> | 1.418 | <0> | 8.34 | <-3> [SDG] (CSM) | 19.5132 | <0> | 1.4325 | <0> | 5.812 | <0> | grbgbe_tank_092821
0 | 18 | grb | grbapwq | 2021-09-29 13:30 | AP sample; LT 12:45EST; overlapped fDOM and 1A | 1.1 | 2021-09-29 14:18 | 2021-10-04 12:30 | 2021-10-05 13:30 | 5.998 | 210.66 | fDOM RFU not calibrated | 14:08 | 14:46 | -0.00668 | <0> | 27.8143 | <0> |  | <-2> | 99.7 | <0> | 7.871 | <0> | 24.89 | <0> | 39.0108 | <0> | 1.6605 | <0> | 8.35 | <-3> [SDG] (CSM) | 19.6887 | <0> | 1.4743 | <0> | 5.9787 | <0> | grbap_tank_092921
0 | 18 | grb | grbapwq | 2021-09-29 13:30 | AP sample; LT 12:45EST | 1.2 | 2021-09-29 14:18 | 2021-10-04 12:30 | 2021-10-05 13:30 | 5.8837 | 206.65 | fDOM RFU not calibrated | 14:08 | 14:46 | -0.00668 | <0> | 27.8143 | <0> |  | <-2> | 99.7 | <0> | 7.871 | <0> | 24.89 | <0> | 39.0108 | <0> | 1.6605 | <0> | 8.35 | <-3> [SDG] (CSM) | 19.6887 | <0> | 1.4743 | <0> | 5.9787 | <0> | grbap_tank_092921
0 | 19 | grb | grborwq | 2021-09-30 09:15 | OR sample; HT 8:20EST; overlapped fDOM and 1A | 1.1 | 2021-09-30 12:45 | 2021-10-04 12:30 | 2021-10-05 13:30 | 84.4488 | 2964.83 | fDOM RFU not calibrated | 12:26 | 12:57 | 0.027 | <0> | 41.9352 | <0> |  | <-2> | 96.4033 | <0> | 7.8757 | <0> | 21.47 | <0> | 34.1113 | <0> | 5.3388 | <0> | 8.22 | <-3> [SDG] (CSM) | 18.992 | <0> | 21.3593 | <0> | 86.4368 | <0> | grbor_tank_093021
0 | 19 | grb | grborwq | 2021-09-30 09:15 | OR sample; HT 8:20EST | 1.2 | 2021-09-30 12:45 | 2021-10-04 12:30 | 2021-10-05 13:30 | 84.3528 | 2961.46 | fDOM RFU not calibrated | 12:26 | 12:57 | 0.027 | <0> | 41.9352 | <0> |  | <-2> | 96.4033 | <0> | 7.8757 | <0> | 21.47 | <0> | 34.1113 | <0> | 5.3388 | <0> | 8.22 | <-3> [SDG] (CSM) | 18.992 | <0> | 21.3593 | <0> | 86.4368 | <0> | grbor_tank_093021
0 | 20 | grb | grbsqwq | 2021-10-01 09:50 | SQ sample; HT 10:02; overlapped fDOM and 1A | 1.1 | 2021-10-01 12:07 | 2021-10-04 12:30 | 2021-10-05 13:30 | 4.6834 | 164.51 | fDOM RFU not calibrated | 11:57 | 12:22 | 0.0718 | <0> | 36.8532 | <0> |  | <-2> | 97.765 | <0> | 7.96 | <0> | 23.36 | <0> | 36.8292 | <0> | 2.1492 | <0> | 7.57 | <-3> [SDG] (CSM) | 18.5508 | <0> | 1.2098 | <0> | 4.906 | <0> | grbsq_tank_100121
0 | 20 | grb | grbsqwq | 2021-10-01 09:50 | SQ sample; HT 10:02 | 1.2 | 2021-10-01 12:07 | 2021-10-04 12:30 | 2021-10-05 13:30 | 4.8099 | 168.95 | fDOM RFU not calibrated | 11:57 | 12:22 | 0.0718 | <0> | 36.8532 | <0> |  | <-2> | 97.765 | <0> | 7.96 | <0> | 23.36 | <0> | 36.8292 | <0> | 2.1492 | <0> | 7.57 | <-3> [SDG] (CSM) | 18.5508 | <0> | 1.2098 | <0> | 4.906 | <0> | grbsq_tank_100121

## isco
qaqc | isco_deployment_no | sample_no | reserve_code | station_code | datetime_collected | datetime_filtered | datetime_extracted | datetime_analyzed | chla_ugl | chla_RFU | remarks | Depth | F_Depth | fDOMQSU | F_fDOMQSU | fDOMRFU | F_fDOMRFU | DO_pct | F_DO_pct | DO_mgl | F_DO_mgl | Sal | F_Sal | SpCond | F_SpCond | Turb | F_Turb | pH | F_pH | Temp | F_Temp | ChlorophyllRFU | F_ChlorophyllRFU | ChlFluor | F_ChlFluor | EXO_filename
0 | 1 | 1 | grb | grblrwq | 2021-05-25 10:18 | 2021-05-26 12:00 | 2021-06-14 12:30 | 2021-06-15 13:30 | 4.1111 | 144.45 | This was regular monthly Isco sampling. | 1.976 | <0> | 49.48 | <0> |  | <-2> | 77.3 | <0> | 6.52 | <0> | 13.96 | <0> | 23.0371 | <0> | 13.47 | <0> | 7.43 | <0> | 19.576 | <0> | 1.07 | <0> | 4.31 | <0> | grblrwq052521
0 | 1 | 2 | grb | grblrwq | 2021-05-25 12:18 | 2021-05-26 12:00 | 2021-06-14 12:30 | 2021-06-15 13:30 | 5.1679 | 181.55 | Hung with 2 sondes - one set for 1.5" (wiping every 6") and one at 1 sec (not wiping) | 2.593 | <0> | 47.2 | <0> |  | <-2> | 75.6 | <0> | 6.37 | <0> | 14.64 | <0> | 24.0656 | <0> | 13.29 | <0> | 7.49 | <0> | 19.463 | <0> | 1.4 | <0> | 5.64 | <0> | grblrwq052521
0 | 1 | 3 | grb | grblrwq | 2021-05-25 14:18 | 2021-05-26 12:00 | 2021-06-14 12:30 | 2021-06-15 13:30 | 6.1632 | 216.49 | Swapped LR sonde at the same time | 1.895 | <0> | 41.68 | <0> |  | <-2> | 70.3 | <0> | 5.85 | <0> | 17.64 | <0> | 28.5298 | <0> | 24.45 | <0> | 7.48 | <0> | 19.222 | <0> | 1.66 | <0> | 6.7 | <0> | grblrwq052521
0 | 1 | 4 | grb | grblrwq | 2021-05-25 16:22 | 2021-05-26 12:00 | 2021-06-14 12:30 | 2021-06-15 13:30 | 3.3586 | 118.03 | Did not try to overlap triplicates | 1.015 | <0> | 46.03 | <0> |  | <-2> | 65.7 | <0> | 5.47 | <0> | 16.7 | <0> | 27.1416 | <0> | 14.25 | <0> | 7.41 | <0> | 19.406 | <0> | 1.21 | <0> | 4.88 | <0> | grblrwq052521
0 | 1 | 5 | grb | grblrwq | 2021-05-25 18:26 | 2021-05-26 12:00 | 2021-06-14 12:30 | 2021-06-15 13:30 | 2.4309 | 85.46 | Started sonde late. No overlap for sample 1A or 1B | 0.299 | <0> | 66.73 | <0> |  | <-2> | 88.8 | <0> | 7.87 | <0> | 3.32 | <0> | 6.0873 | <0> | 5.63 | <0> | 7.39 | <0> | 20.286 | <0> | 0.89 | <0> | 3.59 | <0> | grblrwq052521
0 | 1 | 6 | grb | grblrwq | 2021-05-25 20:30 | 2021-05-26 12:00 | 2021-06-14 12:30 | 2021-06-15 13:30 | 2.7379 | 96.24 |  | 1.233 | <0> | 50 | <0> |  | <-2> | 71.7 | <0> | 6.02 | <0> | 14.59 | <0> | 23.9961 | <0> | 10.76 | <0> | 7.41 | <0> | 19.623 | <0> | 1.05 | <0> | 4.23 | <0> | grblrwq052521
0 | 1 | 7 | grb | grblrwq | 2021-05-25 22:35 | 2021-05-26 12:00 | 2021-06-14 12:30 | 2021-06-15 13:30 | 2.5525 | 89.73 |  | 2.345 | <0> | 47.43 | <0> |  | <-2> | 74.2 | <0> | 6.21 | <0> | 15.63 | <0> | 25.5559 | <0> | 12.98 | <0> | 7.49 | <0> | 19.52 | <0> | 0.94 | <0> | 3.8 | <0> | grblrwq052521
0 | 1 | 8 | grb | grblrwq | 2021-05-26 00:38 | 2021-05-26 12:00 | 2021-06-14 12:30 | 2021-06-15 13:30 | 3.3352 | 117.21 |  | 2.891 | <0> | 44.17 | <0> |  | <-2> | 72.3 | <0> | 5.98 | <0> | 17.3 | <0> | 28.032 | <0> | 17.18 | <0> | 7.5 | <0> | 19.561 | <0> | 1.19 | <0> | 4.81 | <0> | grblrwq052521
0 | 1 | 9 | grb | grblrwq | 2021-05-26 02:42 | 2021-05-26 12:00 | 2021-06-14 12:30 | 2021-06-15 13:30 | 3.2327 | 113.61 |  | 2.068 | <0> | 37.8 | <0> |  | <-2> | 79 | <0> | 6.43 | <0> | 19.88 | <0> | 31.8112 | <0> | 15.67 | <0> | 7.63 | <0> | 19.619 | <0> | 1.33 | <0> | 5.37 | <0> | grblrwq052521
0 | 1 | 10 | grb | grblrwq | 2021-05-26 04:46 | 2021-05-26 12:00 | 2021-06-14 12:30 | 2021-06-15 13:30 | 2.9758 | 104.59 |  | 1.132 | <0> | 42.64 | <0> |  | <-2> | 59.7 | <0> | 4.9 | <0> | 18.59 | <0> | 29.9312 | <0> | 11.46 | <0> | 7.4 | <0> | 19.551 | <0> | 0.97 | <0> | 3.94 | <0> | grblrwq052521
0 | 1 | 11 | grb | grblrwq | 2021-05-26 06:50 | 2021-05-26 12:00 | 2021-06-14 12:30 | 2021-06-15 13:30 | 2.2984 | 80.81 |  | 0.272 | <0> | 61.69 | <0> |  | <-2> | 85.2 | <0> | 7.55 | <0> | 4 | <0> | 7.239 | <0> | 4.58 | <0> | 7.39 | <0> | 20.101 | <0> | 1.12 | <0> | 4.53 | <0> | grblrwq052521
0 | 1 | 12 | grb | grblrwq | 2021-05-26 08:54 | 2021-05-26 12:00 | 2021-06-14 12:30 | 2021-06-15 13:30 | 4.5279 | 159.08 |  | 0.829 | <0> | 53.99 | <0> |  | <-2> | 77.1 | <0> | 6.51 | <0> | 12.43 | <0> | 20.7096 | <0> | 7.69 | <0> | 7.4 | <0> | 20.075 | <0> | 0.94 | <0> | 3.81 | <0> | grblrwq052521
0 | 1 | 13 | grb | grblrwq | 2021-05-26 10:58 | 2021-05-26 12:00 | 2021-06-14 12:30 | 2021-06-15 13:30 | 4.9235 | 172.97 |  | 1.875 | <0> | 46.48 | <0> |  | <-2> | 77.1 | <0> | 6.4 | <0> | 15.4 | <0> | 25.2162 | <0> | 12.23 | <0> | 7.52 | <0> | 20.063 | <0> | 1.16 | <0> | 4.68 | <0> | grblrwq052521
0 | 2 | 1 | grb | grbapwq | 2021-06-09 09:10 | 2021-06-09 09:50 | 2021-06-14 12:30 | 2021-06-15 13:30 | 7.1704 | 251.85 | Sonde logged every 2" | 0.769 | <0> | 13.55 | <0> |  | <-2> | 116.3 | <0> | 8.64 | <0> | 25.96 | <0> | 40.5664 | <0> | 5.73 | <0> | 8.46 | <0> | 22.635 | <0> | 1.59 | <0> | 6.31 | <0> | grbapwq060921
0 | 2 | 2 | grb | grbapwq | 2021-06-09 09:40 | 2021-06-09 10:00 | 2021-06-14 12:30 | 2021-06-15 13:30 | 4.3273 | 152.04 | Sampled every half hour; immediate sample processing | 0.966 | <0> | 13.17 | <0> |  | <-2> | 107 | <0> | 8.13 | <0> | 26.37 | <0> | 41.1054 | <0> | 6.38 | <0> | 8.45 | <0> | 21.302 | <0> | 1.06 | <0> | 4.15 | <0> | grbapwq060921
0 | 2 | 3 | grb | grbapwq | 2021-06-09 10:10 | 2021-06-09 10:20 | 2021-06-14 12:30 | 2021-06-15 13:30 | 3.8161 | 134.09 |  | 1.157 | <0> | 12.68 | <0> |  | <-2> | 108.3 | <0> | 8.23 | <0> | 26.41 | <0> | 41.1748 | <0> | 7.18 | <0> | 8.47 | <0> | 21.275 | <0> | 1.11 | <0> | 4.38 | <0> | grbapwq060921
0 | 2 | 4 | grb | grbapwq | 2021-06-09 10:40 | 2021-06-09 10:50 | 2021-06-14 12:30 | 2021-06-15 13:30 | 3.5309 | 124.08 |  | 1.347 | <0> | 12.78 | <0> |  | <-2> | 109.2 | <0> | 8.31 | <0> | 26.5 | <0> | 41.2943 | <0> | 4.51 | <0> | 8.48 | <0> | 21.165 | <0> | 1 | <0> | 3.94 | <0> | grbapwq060921
0 | 2 | 5 | grb | grbapwq | 2021-06-09 11:10 | 2021-06-09 11:20 | 2021-06-14 12:30 | 2021-06-15 13:30 | 3.5893 | 126.13 |  | 1.527 | <0> | 11.86 | <0> |  | <-2> | 104.4 | <0> | 8.04 | <0> | 26.76 | <0> | 41.6548 | <0> | 5.82 | <0> | 8.47 | <0> | 20.47 | <0> | 0.9 | <0> | 3.51 | <0> | grbapwq060921
0 | 2 | 6 | grb | grbapwq | 2021-06-09 11:40 | 2021-06-09 11:50 | 2021-06-14 12:30 | 2021-06-15 13:30 | 2.8687 | 100.83 |  | 1.682 | <0> | 11.57 | <0> |  | <-2> | 103.5 | <0> | 8.01 | <0> | 26.91 | <0> | 41.8608 | <0> | 4.85 | <0> | 8.44 | <0> | 20.123 | <0> | 0.81 | <0> | 3.17 | <0> | grbapwq060921
0 | 2 | 7 | grb | grbapwq | 2021-06-09 12:10 | 2021-06-09 12:20 | 2021-06-14 12:30 | 2021-06-15 13:30 | 2.7863 | 97.94 |  | 1.803 | <0> | 11.34 | <0> |  | <-2> | 103.3 | <0> | 8.01 | <0> | 26.97 | <0> | 41.9414 | <0> | 6.21 | <0> | 8.43 | <0> | 19.997 | <0> | 0.81 | <0> | 3.18 | <0> | grbapwq060921
0 | 2 | 8 | grb | grbapwq | 2021-06-09 12:40 | 2021-06-09 12:50 | 2021-06-14 12:30 | 2021-06-15 13:30 | 2.2104 | 77.72 |  | 1.864 | <0> | 10.67 | <0> |  | <-2> | 101.6 | <0> | 7.94 | <0> | 27.18 | <0> | 42.2312 | <0> | 5.06 | <0> | 8.43 | <0> | 19.543 | <0> | 0.81 | <0> | 3.16 | <0> | grbapwq060921
0 | 2 | 9 | grb | grbapwq | 2021-06-09 13:10 | 2021-06-09 13:20 | 2021-06-14 12:30 | 2021-06-15 13:30 | 2.254 | 79.25 |  | 1.837 | <0> | 10.87 | <0> |  | <-2> | 102.4 | <0> | 7.99 | <0> | 27.2 | <0> | 42.2598 | <0> | 2.34 | <0> | 8.43 | <0> | 19.606 | <0> | 0.76 | <0> | 2.96 | <0> | grbapwq060921
0 | 2 | 10 | grb | grbapwq | 2021-06-09 13:40 | 2021-06-09 13:50 | 2021-06-14 12:30 | 2021-06-15 13:30 | 2.3249 | 81.74 |  | 1.73 | <0> | 11.08 | <0> |  | <-2> | 103.4 | <0> | 8.01 | <0> | 27.04 | <0> | 42.0344 | <0> | 2.63 | <0> | 8.44 | <0> | 20.01 | <0> | 0.8 | <0> | 3.14 | <0> | grbapwq060921
0 | 2 | 11 | grb | grbapwq | 2021-06-09 14:10 | 2021-06-09 14:20 | 2021-06-14 12:30 | 2021-06-15 13:30 | 4.0753 | 143.19 |  | 1.576 | <0> | 11.6 | <0> |  | <-2> | 110.4 | <0> | 8.42 | <0> | 26.72 | <0> | 41.6051 | <0> | 3.9 | <0> | 8.54 | <0> | 20.946 | <0> | 1.11 | <0> | 4.37 | <0> | grbapwq060921
0 | 2 | 12 | grb | grbapwq | 2021-06-09 14:40 | 2021-06-09 14:50 | 2021-06-14 12:30 | 2021-06-15 13:30 | 2.9732 | 104.5 |  | 1.409 | <0> | 11.29 | <0> |  | <-2> | 111.6 | <0> | 8.53 | <0> | 26.89 | <0> | 41.8308 | <0> | 2.87 | <0> | 8.54 | <0> | 20.794 | <0> | 0.84 | <0> | 3.28 | <0> | grbapwq060921
0 | 3 | 1 | grb | grbapwq | 2021-06-16 10:00 | 2021-06-16 10:10 | 2021-07-21 12:30 | 2021-07-22 13:30 | 7.9412 | 278.93 | Sonde logged every 2" | 0.11 | <0> | 9.67 | <0> |  | <-2> | 109.2 | <0> | 8.49 | <0> | 27.65 | <0> | 42.8886 | <0> | 8.95 | <0> | 8.59 | <0> | 19.644 | <0> | 1.16 | <0> | 4.56 | <0> | grbapwq061621
0 | 3 | 2 | grb | grbapwq | 2021-06-16 11:00 | 2021-06-16 11:10 | 2021-07-21 12:30 | 2021-07-22 13:30 | 16.8132 | 590.4 | Sampled every hour, immediate sample processing | -0.031 | <0> | 6.39 | <0> |  | <-2> | 117.6 | <0> | 9.02 | <0> | 27.69 | <0> | 42.9425 | <0> | 45.41 | <0> | 8.65 | <0> | 20.401 | <0> | 2.85 | <0> | 11.36 | <0> | grbapwq061621
0 | 3 | 3 | grb | grbapwq | 2021-06-16 12:00 | 2021-06-16 12:10 | 2021-07-21 12:30 | 2021-07-22 13:30 | 22.311 | 783.41 |  | 0.111 | <0> | 1.78 | <0> |  | <-2> | 110.1 | <0> | 8.2 | <0> | 27.69 | <0> | 42.9697 | <0> | 123.4 | <0> | 8.67 | <0> | 21.932 | <0> | 4.24 | <0> | 16.98 | <0> | grbapwq061621
0 | 3 | 4 | grb | grbapwq | 2021-06-16 13:00 | 2021-06-16 13:10 | 2021-07-21 12:30 | 2021-07-22 13:30 | 8.0164 | 281.57 |  | 0.423 | <0> | 7.03 | <0> |  | <-2> | 124.3 | <0> | 9.31 | <0> | 28.18 | <0> | 43.6512 | <0> | 18 | <0> | 8.73 | <0> | 21.495 | <0> | 1.72 | <0> | 6.83 | <0> | grbapwq061621
0 | 3 | 5 | grb | grbapwq | 2021-06-16 14:00 | 2021-06-16 14:10 | 2021-07-21 12:30 | 2021-07-22 13:30 | 7.1709 | 251.89 |  | 0.797 | <0> | 6.82 | <0> |  | <-2> | 130.4 | <0> | 9.7 | <0> | 28.37 | <0> | 43.9212 | <0> | 11.07 | <0> | 8.74 | <0> | 21.794 | <0> | 1.55 | <0> | 6.13 | <0> | grbapwq061621
0 | 3 | 6 | grb | grbapwq | 2021-06-16 15:00 | 2021-06-16 15:10 | 2021-07-21 12:30 | 2021-07-22 13:30 | 7.4424 | 261.42 | Last immediate sample processing of the day | 1.194 | <0> | 8.49 | <0> |  | <-2> | 109.8 | <0> | 8.52 | <0> | 28.06 | <0> | 43.4651 | <0> | 9.09 | <0> | 8.7 | <0> | 19.645 | <0> | 2.01 | <0> | 8.01 | <0> | grbapwq061621
0 | 3 | 7 | grb | grbapwq | 2021-06-16 16:00 | 2021-06-17 07:45 | 2021-07-21 12:30 | 2021-07-22 13:30 | 5.2631 | 184.91 |  | 1.569 | <0> | 8.19 | <0> |  | <-2> | 104.3 | <0> | 8.2 | <0> | 28.23 | <0> | 43.6997 | <0> | 6.64 | <0> | 8.57 | <0> | 18.912 | <0> | 1.98 | <0> | 7.88 | <0> | grbapwq061621
0 | 3 | 8 | grb | grbapwq | 2021-06-16 17:00 | 2021-06-17 07:45 | 2021-07-21 12:30 | 2021-07-22 13:30 | 3.8092 | 133.87 |  | 1.843 | <0> | 7.61 | <0> |  | <-2> | 101.1 | <0> | 8.04 | <0> | 28.46 | <0> | 44.0165 | <0> | 3.79 | <0> | 8.55 | <0> | 18.215 | <0> | 1.57 | <0> | 6.21 | <0> | grbapwq061621
0 | 3 | 9 | grb | grbapwq | 2021-06-16 18:00 | 2021-06-17 07:45 | 2021-07-21 12:30 | 2021-07-22 13:30 | 3.0863 | 108.49 |  | 1.85 | <0> | 7.02 | <0> |  | <-2> | 100.9 | <0> | 8.06 | <0> | 28.65 | <0> | 44.2721 | <0> | 3.44 | <0> | 8.55 | <0> | 17.905 | <0> | 1.61 | <0> | 6.39 | <0> | grbapwq061621
0 | 3 | 10 | grb | grbapwq | 2021-06-16 19:00 | 2021-06-17 07:45 | 2021-07-21 12:30 | 2021-07-22 13:30 | 4.2897 | 150.74 |  | 1.57 | <0> | 7.84 | <0> |  | <-2> | 102.7 | <0> | 8.14 | <0> | 28.38 | <0> | 43.8975 | <0> | 2.78 | <0> | 8.56 | <0> | 18.39 | <0> | 1.84 | <0> | 7.33 | <0> | grbapwq061621
0 | 3 | 11 | grb | grbapwq | 2021-06-16 20:00 | 2021-06-17 07:45 | 2021-07-21 12:30 | 2021-07-22 13:30 | 4.5535 | 160 |  | 1.212 | <0> | 8.08 | <0> |  | <-2> | 103.2 | <0> | 8.18 | <0> | 28.32 | <0> | 43.8179 | <0> | 2.61 | <0> | 8.57 | <0> | 18.442 | <0> | 2.23 | <0> | 8.9 | <0> | grbapwq061621
0 | 3 | 12 | grb | grbapwq | 2021-06-16 21:00 | 2021-06-17 07:45 | 2021-07-21 12:30 | 2021-07-22 13:30 | 5.3146 | 186.72 |  | 0.846 | <0> | 8.95 | <0> |  | <-2> | 109 | <0> | 8.53 | <0> | 28.05 | <0> | 43.4493 | <0> | 2.68 | <0> | 8.61 | <0> | 19.171 | <0> | 2.89 | <0> | 11.52 | <0> | grbapwq061621
0 | 3 | 13 | grb | grbapwq | 2021-06-16 22:00 | 2021-06-17 07:45 | 2021-07-21 12:30 | 2021-07-22 13:30 | 5.7396 | 201.64 |  | 0.507 | <0> | 9.31 | <0> |  | <-2> | 109 | <0> | 8.5 | <0> | 27.91 | <0> | 43.2448 | <0> | 4.37 | <0> | 8.62 | <0> | 19.451 | <0> | 2.52 | <0> | 10.04 | <0> | grbapwq061621
0 | 3 | 14 | grb | grbapwq | 2021-06-16 23:00 | 2021-06-17 07:45 | 2021-07-21 12:30 | 2021-07-22 13:30 | 5.154 | 181.08 |  | 0.277 | <0> | 10.19 | <0> |  | <-2> | 109.9 | <0> | 8.53 | <0> | 27.77 | <0> | 43.0603 | <0> | 3.07 | <0> | 8.65 | <0> | 19.671 | <0> | 2.65 | <0> | 10.57 | <0> | grbapwq061621
0 | 3 | 15 | grb | grbapwq | 2021-06-17 | 2021-06-17 07:45 | 2021-07-21 12:30 | 2021-07-22 13:30 | 5.109 | 179.5 |  | 0.32 | <0> | 10.96 | <0> |  | <-2> | 104.5 | <0> | 8.15 | <0> | 27.59 | <0> | 42.7986 | <0> | 3.69 | <0> | 8.62 | <0> | 19.521 | <0> | 2.59 | <0> | 10.32 | <0> | grbapwq061621
0 | 3 | 16 | grb | grbapwq | 2021-06-17 01:00 | 2021-06-17 07:45 | 2021-07-21 12:30 | 2021-07-22 13:30 | 6.3346 | 222.53 |  | 0.598 | <0> | 11.88 | <0> |  | <-2> | 105.2 | <0> | 8.21 | <0> | 27.42 | <0> | 42.5708 | <0> | 4.19 | <0> | 8.62 | <0> | 19.519 | <0> | 2.75 | <0> | 10.98 | <0> | grbapwq061621
0 | 3 | 17 | grb | grbapwq | 2021-06-17 02:00 | 2021-06-17 07:45 | 2021-07-21 12:30 | 2021-07-22 13:30 | 6.1173 | 214.9 |  | 0.964 | <0> | 10.63 | <0> |  | <-2> | 103.5 | <0> | 8.16 | <0> | 27.73 | <0> | 42.9934 | <0> | 4.69 | <0> | 8.6 | <0> | 18.87 | <0> | 2.61 | <0> | 10.39 | <0> | grbapwq061621
0 | 3 | 18 | grb | grbapwq | 2021-06-17 03:00 | 2021-06-17 07:45 | 2021-07-21 12:30 | 2021-07-22 13:30 | 5.6889 | 199.86 |  | 1.361 | <0> | 10.09 | <0> |  | <-2> | 101.3 | <0> | 8.06 | <0> | 27.89 | <0> | 43.2154 | <0> | 5.26 | <0> | 8.58 | <0> | 18.354 | <0> | 2.59 | <0> | 10.31 | <0> | grbapwq061621
0 | 3 | 19 | grb | grbapwq | 2021-06-17 04:00 | 2021-06-17 07:45 | 2021-07-21 12:30 | 2021-07-22 13:30 | 4.2519 | 149.41 |  | 1.741 | <0> | 8.63 | <0> |  | <-2> | 98 | <0> | 7.85 | <0> | 28.13 | <0> | 43.5502 | <0> | 4.53 | <0> | 8.59 | <0> | 17.969 | <0> | 2.16 | <0> | 8.6 | <0> | grbapwq061621
0 | 3 | 20 | grb | grbapwq | 2021-06-17 05:00 | 2021-06-17 07:45 | 2021-07-21 12:30 | 2021-07-22 13:30 | 3.6822 | 129.41 |  | 2.012 | <0> | 7.23 | <0> |  | <-2> | 100 | <0> | 8 | <0> | 28.62 | <0> | 44.2389 | <0> | 3.58 | <0> | 8.64 | <0> | 17.844 | <0> | 1.53 | <0> | 6.04 | <0> | grbapwq061621
0 | 3 | 21 | grb | grbapwq | 2021-06-17 06:00 | 2021-06-17 07:45 | 2021-07-21 12:30 | 2021-07-22 13:30 | 3.2321 | 113.61 |  | 2.026 | <0> | 6.7 | <0> |  | <-2> | 99.4 | <0> | 8 | <0> | 28.81 | <0> | 44.5033 | <0> | 3.58 | <0> | 8.69 | <0> | 17.493 | <0> | 1.38 | <0> | 5.46 | <0> | grbapwq061621
0 | 3 | 22 | grb | grbapwq | 2021-06-17 07:00 | 2021-06-17 07:45 | 2021-07-21 12:30 | 2021-07-22 13:30 | 3.5756 | 125.67 |  | 1.742 | <0> | 7.15 | <0> |  | <-2> | 102.9 | <0> | 8.22 | <0> | 28.61 | <0> | 44.2245 | <0> | 3.16 | <0> | 8.71 | <0> | 17.913 | <0> | 1.36 | <0> | 5.37 | <0> | grbapwq061621
0 | 4 | 1.1 | grb | grblrwq | 2021-06-22 10:05 | 2021-06-23 13:00 | 2021-07-21 12:30 | 2021-07-22 13:30 | 8.8213 | 309.83 | Regular monthly Isco sampling | 2.694 | <0> | 32.78 | <0> |  | <-2> | 70.8 | <0> | 5.21 | <0> | 23.24 | <0> | 36.7318 | <0> | 9.39 | <0> | 8.27 | <0> | 24.078 | <0> | 2.9 | <0> | 12.36 | <0> | grblrwq062221
0 | 4 | 1.2 | grb | grblrwq | 2021-06-22 10:07 | 2021-06-23 13:00 | 2021-07-21 12:30 | 2021-07-22 13:30 | 8.0052 | 281.18 | Sonde logging every 2" (wiping every 6") | 2.689 | <0> | 32.69 | <0> |  | <-2> | 71.5 | <0> | 5.27 | <0> | 23.23 | <0> | 36.7218 | <0> | 9.22 | <0> | 8.28 | <0> | 24.086 | <0> | 2.86 | <0> | 12.21 | <0> | grblrwq062221
0 | 4 | 1.3 | grb | grblrwq | 2021-06-22 10:09 | 2021-06-23 13:00 | 2021-07-21 12:30 | 2021-07-22 13:30 | 8.4456 | 296.64 | Swapped LR sonde around this time also | 2.685 | <0> | 32.55 | <0> |  | <-2> | 72 | <0> | 5.3 | <0> | 23.24 | <0> | 36.7428 | <0> | 8.21 | <0> | 8.28 | <0> | 24.089 | <0> | 2.9 | <0> | 12.39 | <0> | grblrwq062221
0 | 4 | 2 | grb | grblrwq | 2021-06-22 12:09 | 2021-06-23 13:00 | 2021-07-21 12:30 | 2021-07-22 13:30 | 7.7802 | 273.28 | Did not try to overlap triplicates | 1.985 | <0> | 31.43 | <0> |  | <-2> | 68.9 | <0> | 5.06 | <0> | 23.56 | <0> | 37.1928 | <0> | 12.16 | <0> | 8.31 | <0> | 24.035 | <0> | 2.9 | <0> | 12.37 | <0> | grblrwq062221
0 | 4 | 3 | grb | grblrwq | 2021-06-22 14:09 | 2021-06-23 13:00 | 2021-07-21 12:30 | 2021-07-22 13:30 | 7.4267 | 260.87 | Isco is programmed to start one minute before the time the sonde logs | 1.175 | <0> | 32.17 | <0> |  | <-2> | 62 | <0> | 4.56 | <0> | 23.55 | <0> | 37.1737 | <0> | 9.92 | <0> | 8.3 | <0> | 23.975 | <0> | 2.55 | <0> | 10.9 | <0> | grblrwq062221
0 | 4 | 4 | grb | grblrwq | 2021-06-22 16:13 | 2021-06-23 13:00 | 2021-07-21 12:30 | 2021-07-22 13:30 | 6.9092 | 242.7 | Rained ~0.15 in. during deployment | 0.548 | <0> | 34.11 | <0> |  | <-2> | 59.7 | <0> | 4.41 | <0> | 23.18 | <0> | 36.6391 | <0> | 7.14 | <0> | 8.3 | <0> | 23.833 | <0> | 2.44 | <0> | 10.41 | <0> | grblrwq062221
0 | 4 | 5 | grb | grblrwq | 2021-06-22 18:17 | 2021-06-23 13:00 | 2021-07-21 12:30 | 2021-07-22 13:30 | 6.9459 | 243.99 |  | 1.485 | <0> | 33.84 | <0> |  | <-2> | 64 | <0> | 4.72 | <0> | 23.3 | <0> | 36.8139 | <0> | 7.36 | <0> | 8.33 | <0> | 23.936 | <0> | 3.05 | <0> | 13.02 | <0> | grblrwq062221
0 | 4 | 6 | grb | grblrwq | 2021-06-22 20:21 | 2021-06-23 13:00 | 2021-07-21 12:30 | 2021-07-22 13:30 | 6.2355 | 219.05 |  | 2.569 | <0> | 34.29 | <0> |  | <-2> | 59.5 | <0> | 4.4 | <0> | 23.23 | <0> | 36.7125 | <0> | 7.27 | <0> | 8.32 | <0> | 23.827 | <0> | 2.53 | <0> | 10.82 | <0> | grblrwq062221
0 | 4 | 7 | grb | grblrwq | 2021-06-22 22:25 | 2021-06-23 13:00 | 2021-07-21 12:30 | 2021-07-22 13:30 | 6.1014 | 214.34 |  | 3.122 | <0> | 32.01 | <0> |  | <-2> | 64.9 | <0> | 4.81 | <0> | 23.63 | <0> | 37.2871 | <0> | 11.65 | <0> | 8.37 | <0> | 23.592 | <0> | 2.41 | <0> | 10.31 | <0> | grblrwq062221
0 | 4 | 8 | grb | grblrwq | 2021-06-23 00:29 | 2021-06-23 13:00 | 2021-07-21 12:30 | 2021-07-22 13:30 | 6.546 | 229.95 |  | 2.348 | <0> | 26.85 | <0> |  | <-2> | 74 | <0> | 5.5 | <0> | 24.85 | <0> | 39.0073 | <0> | 12.05 | <0> | 8.47 | <0> | 23.072 | <0> | 2.85 | <0> | 12.18 | <0> | grblrwq062221
0 | 4 | 9 | grb | grblrwq | 2021-06-23 02:33 | 2021-06-23 13:00 | 2021-07-21 12:30 | 2021-07-22 13:30 | 4.6481 | 163.32 |  | 1.427 | <0> | 28.42 | <0> |  | <-2> | 67.7 | <0> | 5.02 | <0> | 24.65 | <0> | 38.7235 | <0> | 9.73 | <0> | 8.44 | <0> | 23.131 | <0> | 1.79 | <0> | 7.69 | <0> | grblrwq062221
0 | 4 | 10 | grb | grblrwq | 2021-06-23 04:37 | 2021-06-23 13:00 | 2021-07-21 12:30 | 2021-07-22 13:30 | 3.8733 | 136.12 |  | 0.599 | <0> | 32.66 | <0> |  | <-2> | 53.1 | <0> | 3.97 | <0> | 23.98 | <0> | 37.7584 | <0> | 6.86 | <0> | 8.37 | <0> | 22.959 | <0> | 1.5 | <0> | 6.44 | <0> | grblrwq062221
0 | 4 | 11 | grb | grblrwq | 2021-06-23 06:41 | 2021-06-23 13:00 | 2021-07-21 12:30 | 2021-07-22 13:30 | 5.5761 | 195.9 |  | 1.075 | <0> | 31.88 | <0> |  | <-2> | 59.7 | <0> | 4.45 | <0> | 23.8 | <0> | 37.5156 | <0> | 8.79 | <0> | 8.4 | <0> | 23.166 | <0> | 1.84 | <0> | 7.87 | <0> | grblrwq062221
0 | 4 | 12 | grb | grblrwq | 2021-06-23 08:45 | 2021-06-23 13:00 | 2021-07-21 12:30 | 2021-07-22 13:30 | 6.4907 | 228.01 |  | 2.094 | <0> | 33.25 | <0> |  | <-2> | 59 | <0> | 4.42 | <0> | 23.14 | <0> | 36.5662 | <0> | 8.71 | <0> | 8.4 | <0> | 23.086 | <0> | 1.87 | <0> | 8.01 | <0> | grblrwq062221
0 | 4 | 13 | grb | grblrwq | 2021-06-23 10:49 | 2021-06-23 13:00 | 2021-07-21 12:30 | 2021-07-22 13:30 | 6.8605 | 240.99 |  | 2.776 | <0> | 34.23 | <0> |  | <-2> | 57.7 | <0> | 4.33 | <0> | 22.95 | <0> | 36.2978 | <0> | 7.22 | <0> | 8.4 | <0> | 23.088 | <0> | 2.09 | <0> | 8.93 | <0> | grblrwq062221
0 | 5 | 1 | grb | grbsqwq | 2021-07-01 10:36 | 2021-07-02 13:30 | 2021-07-21 12:30 | 2021-07-22 13:30 | 7.3381 | 257.76 | Sonde logging every 2" (wiping every 6") | 0.767 | <0> | 21.35 | <0> |  | <-2> | 79.9 | <0> | 5.53 | <0> | 27.51 | <0> | 42.8229 | <0> | 9.32 | <0> | 8.63 | <0> | 26.236 | <0> | 1.3 | <0> | 5.59 | <0> | grbsqwq070121
0 | 5 | 2 | grb | grbsqwq | 2021-07-01 11:36 | 2021-07-02 13:30 | 2021-07-21 12:30 | 2021-07-22 13:30 | 12.154 | 426.83 | Rained during deployment | 0.453 | <0> | 31.55 | <0> |  | <-2> | 73.2 | <0> | 5.04 | <0> | 24.91 | <0> | 39.2092 | <0> | 15.05 | <0> | 7.86 | <0> | 27.347 | <0> | 1.87 | <0> | 8.03 | <0> | grbsqwq070121
0 | 5 | 3 | grb | grbsqwq | 2021-07-01 12:36 | 2021-07-02 13:30 | 2021-07-21 12:30 | 2021-07-22 13:30 | 16.0794 | 564.64 |  | 0.137 | <0> | 36.16 | <0> |  | <-2> | 69.1 | <0> | 4.77 | <0> | 22.62 | <0> | 35.9663 | <0> | 33.46 | <0> | 7.78 | <0> | 27.897 | <0> | 2.71 | <0> | 11.58 | <0> | grbsqwq070121
0 | 5 | 4 | grb | grbsqwq | 2021-07-01 13:36 | 2021-07-02 13:30 | 2021-07-21 12:30 | 2021-07-22 13:30 | 15.9156 | 558.89 |  | 0.261 | <0> | 41.2 | <0> |  | <-2> | 68.3 | <0> | 4.73 | <0> | 22 | <0> | 35.0709 | <0> | 22.39 | <0> | 7.76 | <0> | 28.065 | <0> | 2.89 | <0> | 12.36 | <0> | grbsqwq070121
0 | 5 | 5 | grb | grbsqwq | 2021-07-01 14:36 | 2021-07-02 13:30 | 2021-07-21 12:30 | 2021-07-22 13:30 | 12.9205 | 453.74 |  | 0.614 | <0> | 25.08 | <0> |  | <-2> | 77 | <0> | 5.29 | <0> | 25.9 | <0> | 40.594 | <0> | 27.99 | <0> | 8.62 | <0> | 27.142 | <0> | 2.29 | <0> | 9.79 | <0> | grbsqwq070121
0 | 5 | 6 | grb | grbsqwq | 2021-07-01 15:36 | 2021-07-02 13:30 | 2021-07-21 12:30 | 2021-07-22 13:30 | 8.2049 | 288.19 |  | 1.021 | <0> | 14.25 | <0> |  | <-2> | 102.6 | <0> | 7.12 | <0> | 28.83 | <0> | 44.6545 | <0> | 12.72 | <0> | 9.06 | <0> | 25.611 | <0> | 1.96 | <0> | 8.41 | <0> | grbsqwq070121
0 | 5 | 7 | grb | grbsqwq | 2021-07-01 16:36 | 2021-07-02 13:30 | 2021-07-21 12:30 | 2021-07-22 13:30 | 6.3577 | 223.34 |  | 1.432 | <0> | 8.7 | <0> |  | <-2> | 110 | <0> | 7.73 | <0> | 29.76 | <0> | 45.9075 | <0> | 7.89 | <0> | 9.09 | <0> | 24.567 | <0> | 2.01 | <0> | 8.6 | <0> | grbsqwq070121
0 | 5 | 8 | grb | grbsqwq | 2021-07-01 17:36 | 2021-07-02 13:30 | 2021-07-21 12:30 | 2021-07-22 13:30 | 6.0714 | 213.29 |  | 1.837 | <0> | 8.34 | <0> |  | <-2> | 112.1 | <0> | 7.92 | <0> | 29.88 | <0> | 46.0564 | <0> | 4.73 | <0> | 9.09 | <0> | 24.291 | <0> | 2.14 | <0> | 9.17 | <0> | grbsqwq070121
0 | 5 | 9 | grb | grbsqwq | 2021-07-01 18:36 | 2021-07-02 13:30 | 2021-07-21 12:30 | 2021-07-22 13:30 | 5.6539 | 198.63 |  | 2.143 | <0> | 7.13 | <0> |  | <-2> | 110 | <0> | 7.82 | <0> | 30.12 | <0> | 46.3742 | <0> | 3.64 | <0> | 9.09 | <0> | 23.79 | <0> | 1.97 | <0> | 8.45 | <0> | grbsqwq070121
0 | 5 | 10 | grb | grbsqwq | 2021-07-01 19:36 | 2021-07-02 13:30 | 2021-07-21 12:30 | 2021-07-22 13:30 | 3.8141 | 134.04 |  | 2.13 | <0> | 7.54 | <0> |  | <-2> | 104.7 | <0> | 7.44 | <0> | 30.07 | <0> | 46.3158 | <0> | 3.35 | <0> | 9.07 | <0> | 23.852 | <0> | 1.59 | <0> | 6.81 | <0> | grbsqwq070121
0 | 5 | 11 | grb | grbsqwq | 2021-07-01 20:36 | 2021-07-02 13:30 | 2021-07-21 12:30 | 2021-07-22 13:30 | 4.7022 | 165.22 |  | 1.787 | <0> | 8.75 | <0> |  | <-2> | 107.6 | <0> | 7.6 | <0> | 29.87 | <0> | 46.0507 | <0> | 4.71 | <0> | 9.07 | <0> | 24.245 | <0> | 1.74 | <0> | 7.45 | <0> | grbsqwq070121
0 | 5 | 12 | grb | grbsqwq | 2021-07-01 21:36 | 2021-07-02 13:30 | 2021-07-21 12:30 | 2021-07-22 13:30 | 4.2202 | 148.3 |  | 1.43 | <0> | 11.62 | <0> |  | <-2> | 102.6 | <0> | 7.2 | <0> | 29.37 | <0> | 45.3772 | <0> | 6.4 | <0> | 9.02 | <0> | 24.846 | <0> | 1.66 | <0> | 7.14 | <0> | grbsqwq070121
0 | 5 | 13 | grb | grbsqwq | 2021-07-01 22:36 | 2021-07-02 13:30 | 2021-07-21 12:30 | 2021-07-22 13:30 | 3.4759 | 122.17 |  | 1.062 | <0> | 17.47 | <0> |  | <-2> | 91.2 | <0> | 6.36 | <0> | 28.38 | <0> | 44.0143 | <0> | 6.53 | <0> | 8.95 | <0> | 25.505 | <0> | 1.36 | <0> | 5.87 | <0> | grbsqwq070121
0 | 5 | 14 | grb | grbsqwq | 2021-07-01 23:36 | 2021-07-02 13:30 | 2021-07-21 12:30 | 2021-07-22 13:30 | 3.366 | 118.31 |  | 0.715 | <0> | 27.38 | <0> |  | <-2> | 78.3 | <0> | 5.46 | <0> | 26.32 | <0> | 41.1581 | <0> | 9.68 | <0> | 8.02 | <0> | 26.237 | <0> | 1.29 | <0> | 5.57 | <0> | grbsqwq070121
0 | 5 | 15 | grb | grbsqwq | 2021-07-02 00:36 | 2021-07-02 13:30 | 2021-07-21 12:30 | 2021-07-22 13:30 | 4.1055 | 144.27 |  | 0.412 | <0> | 37.72 | <0> |  | <-2> | 72.2 | <0> | 5.06 | <0> | 23.72 | <0> | 37.4915 | <0> | 13.18 | <0> | 7.83 | <0> | 26.689 | <0> | 1.43 | <0> | 6.14 | <0> | grbsqwq070121
0 | 5 | 16 | grb | grbsqwq | 2021-07-02 01:36 | 2021-07-02 13:30 | 2021-07-21 12:30 | 2021-07-22 13:30 | 6.5511 | 230.13 |  | 0.29 | <0> | 44.41 | <0> |  | <-2> | 68.1 | <0> | 4.81 | <0> | 21.75 | <0> | 34.6819 | <0> | 15.89 | <0> | 7.76 | <0> | 26.93 | <0> | 1.68 | <0> | 7.23 | <0> | grbsqwq070121
0 | 5 | 17 | grb | grbsqwq | 2021-07-02 02:36 | 2021-07-02 13:30 | 2021-07-21 12:30 | 2021-07-22 13:30 | 5.9017 | 207.33 |  | 0.642 | <0> | 30.06 | <0> |  | <-2> | 72.6 | <0> | 5.13 | <0> | 24.22 | <0> | 38.194 | <0> | 38.94 | <0> | 8.86 | <0> | 26.072 | <0> | 1.62 | <0> | 6.97 | <0> | grbsqwq070121
0 | 5 | 18 | grb | grbsqwq | 2021-07-02 03:36 | 2021-07-02 13:30 | 2021-07-21 12:30 | 2021-07-22 13:30 | 7.3914 | 259.63 |  | 1.044 | <0> | 14.7 | <0> |  | <-2> | 85.5 | <0> | 6.14 | <0> | 26.89 | <0> | 41.8979 | <0> | 55.54 | <0> | 9.02 | <0> | 24.299 | <0> | 1.86 | <0> | 7.96 | <0> | grbsqwq070121
0 | 5 | 19 | grb | grbsqwq | 2021-07-02 04:36 | 2021-07-02 13:30 | 2021-07-21 12:30 | 2021-07-22 13:30 | 5.8045 | 203.92 |  | 1.441 | <0> | 10.64 | <0> |  | <-2> | 91.7 | <0> | 6.59 | <0> | 28.99 | <0> | 44.812 | <0> | 19.77 | <0> | 9.07 | <0> | 23.552 | <0> | 1.69 | <0> | 7.25 | <0> | grbsqwq070121
0 | 5 | 20 | grb | grbsqwq | 2021-07-02 05:36 | 2021-07-02 13:30 | 2021-07-21 12:30 | 2021-07-22 13:30 | 6.295 | 221.14 |  | 1.854 | <0> | 7.96 | <0> |  | <-2> | 92.5 | <0> | 6.71 | <0> | 29.49 | <0> | 45.4886 | <0> | 23.42 | <0> | 9.09 | <0> | 22.872 | <0> | 1.58 | <0> | 6.79 | <0> | grbsqwq070121
0 | 5 | 21 | grb | grbsqwq | 2021-07-02 06:36 | 2021-07-02 13:30 | 2021-07-21 12:30 | 2021-07-22 13:30 | 5.8752 | 206.4 |  | 2.195 | <0> | 8.15 | <0> |  | <-2> | 93.3 | <0> | 6.8 | <0> | 29.59 | <0> | 45.6272 | <0> | 15.26 | <0> | 9.1 | <0> | 22.549 | <0> | 1.4 | <0> | 6.02 | <0> | grbsqwq070121
0 | 5 | 22 | grb | grbsqwq | 2021-07-02 07:36 | 2021-07-02 13:30 | 2021-07-21 12:30 | 2021-07-22 13:30 | 5.876 | 206.43 |  | 2.296 | <0> | 8.4 | <0> |  | <-2> | 93.6 | <0> | 6.85 | <0> | 29.59 | <0> | 45.6137 | <0> | 11.41 | <0> | 9.1 | <0> | 22.338 | <0> | 1.56 | <0> | 6.69 | <0> | grbsqwq070121
0 | 5 | 23 | grb | grbsqwq | 2021-07-02 08:36 | 2021-07-02 13:30 | 2021-07-21 12:30 | 2021-07-22 13:30 | 6.1199 | 214.99 |  | 2.001 | <0> | 9.47 | <0> |  | <-2> | 90.8 | <0> | 6.65 | <0> | 29.29 | <0> | 45.197 | <0> | 15.55 | <0> | 9.07 | <0> | 22.417 | <0> | 1.32 | <0> | 5.7 | <0> | grbsqwq070121
0 | 5 | 24 | grb | grbsqwq | 2021-07-02 09:36 | 2021-07-02 13:30 | 2021-07-21 12:30 | 2021-07-22 13:30 | 7.5219 | 264.21 |  | 1.649 | <0> | 11.01 | <0> |  | <-2> | 89.2 | <0> | 6.54 | <0> | 28.75 | <0> | 44.4525 | <0> | 18.85 | <0> | 9.05 | <0> | 22.517 | <0> | 1.48 | <0> | 6.35 | <0> | grbsqwq070121
0 | 6 | 1.1 | grb | grblrwq | 2021-07-27 10:05 | 2021-07-28 12:00 | 2021-08-25 12:30 | 2021-08-26 13:30 | 1.218 | 43.63 | Regular monthly Isco sampling | 0.924 | <0> | 119.9 | <0> |  | <-2> | 102.3 | <0> | 8.97 | <0> | 0.1 | <0> | 0.2027 | <0> | 2.52 | <0> | 8.46 | <-3> [SDG] (CSM) | 21.854 | <0> | 1.23 | <0> | 4.87 | <0> | grblrwq072721
0 | 6 | 1.2 | grb | grblrwq | 2021-07-27 10:07 | 2021-07-28 12:15 | 2021-08-25 12:30 | 2021-08-26 13:30 | 1.1713 | 41.99 | Sonde logging every 2" (wiping every 6") | 0.918 | <0> | 119.7 | <0> |  | <-2> | 102.4 | <0> | 8.98 | <0> | 0.09 | <0> | 0.1951 | <0> | 2.35 | <0> | 8.47 | <-3> [SDG] (CSM) | 21.849 | <0> | 1.19 | <0> | 4.71 | <0> | grblrwq072721
0 | 6 | 1.3 | grb | grblrwq | 2021-07-27 10:09 | 2021-07-28 12:30 | 2021-08-25 12:30 | 2021-08-26 13:30 | 1.1254 | 40.38 | Isco is programmed to start one minute before the time the sonde logs | 0.916 | <0> | 119.88 | <0> |  | <-2> | 102.4 | <0> | 8.98 | <0> | 0.09 | <0> | 0.1933 | <0> | 2.06 | <0> | 8.47 | <-3> [SDG] (CSM) | 21.855 | <0> | 1.21 | <0> | 4.81 | <0> | grblrwq072721
0 | 6 | 2 | grb | grblrwq | 2021-07-27 12:09 | 2021-07-28 12:45 | 2021-08-25 12:30 | 2021-08-26 13:30 | 1.2288 | 44.01 | Rained ~1.5 in. during deployment | 1.63 | <0> | 118.28 | <0> |  | <-2> | 102.8 | <0> | 8.97 | <0> | 0.07 | <0> | 0.143 | <0> | 1.77 | <0> | 8.43 | <-3> [SDG] (CSM) | 22.087 | <0> | 1.2 | <0> | 4.76 | <0> | grblrwq072721
0 | 6 | 3 | grb | grblrwq | 2021-07-27 14:09 | 2021-07-28 13:00 | 2021-08-25 12:30 | 2021-08-26 13:30 | 0.32871 | 12.41 |  | 2.57 | <0> | 117.96 | <0> |  | <-2> | 102.3 | <0> | 8.9 | <0> | 0.07 | <0> | 0.1406 | <0> | 1.82 | <0> | 8.44 | <-3> [SDG] (CSM) | 22.243 | <0> | 1.22 | <0> | 4.84 | <0> | grblrwq072721
0 | 6 | 4 | grb | grblrwq | 2021-07-27 16:13 | 2021-07-28 13:15 | 2021-08-25 12:30 | 2021-08-26 13:30 | 1.7911 | 63.75 |  | 3.072 | <0> | 118.01 | <0> |  | <-2> | 101.8 | <0> | 8.86 | <0> | 0.07 | <0> | 0.1398 | <0> | 1.83 | <0> | 8.41 | <-3> [SDG] (CSM) | 22.236 | <0> | 1.29 | <0> | 5.14 | <0> | grblrwq072721
0 | 6 | 5 | grb | grblrwq | 2021-07-27 18:17 | 2021-07-28 13:30 | 2021-08-25 12:30 | 2021-08-26 13:30 | 1.273 | 45.56 |  | 2.44 | <0> | 120.32 | <0> |  | <-2> | 82.6 | <0> | 6.88 | <0> | 5.92 | <0> | 10.46 | <0> | 4.25 | <0> | 8.51 | <-3> [SDG] (CSM) | 22.815 | <0> | 1.47 | <0> | 5.86 | <0> | grblrwq072721
0 | 6 | 6 | grb | grblrwq | 2021-07-27 20:21 | 2021-07-28 13:45 | 2021-08-25 12:30 | 2021-08-26 13:30 | 1.3049 | 46.68 |  | 1.611 | <0> | 117.49 | <0> |  | <-2> | 102.4 | <0> | 8.91 | <0> | 0.11 | <0> | 0.2338 | <0> | 2.54 | <0> | 8.46 | <-3> [SDG] (CSM) | 22.229 | <0> | 1.3 | <0> | 5.18 | <0> | grblrwq072721
0 | 6 | 7 | grb | grblrwq | 2021-07-27 22:25 | 2021-07-28 14:00 | 2021-08-25 12:30 | 2021-08-26 13:30 | 1.1912 | 42.69 |  | 1.095 | <0> | 117.86 | <0> |  | <-2> | 102.7 | <0> | 8.95 | <0> | 0.07 | <0> | 0.1464 | <0> | 2.78 | <0> | 8.38 | <-3> [SDG] (CSM) | 22.155 | <0> | 1.26 | <0> | 5.02 | <0> | grblrwq072721
0 | 6 | 8 | grb | grblrwq | 2021-07-28 00:29 | 2021-07-28 14:15 | 2021-08-25 12:30 | 2021-08-26 13:30 | 1.0881 | 39.07 |  | 1.912 | <0> | 117.19 | <0> |  | <-2> | 103.2 | <0> | 8.98 | <0> | 0.07 | <0> | 0.1408 | <0> | 2.09 | <0> | 8.37 | <-3> [SDG] (CSM) | 22.235 | <0> | 1.24 | <0> | 4.94 | <0> | grblrwq072721
0 | 6 | 9 | grb | grblrwq | 2021-07-28 02:33 | 2021-07-28 14:30 | 2021-08-25 12:30 | 2021-08-26 13:30 | 1.091 | 39.17 |  | 2.876 | <0> | 114.56 | <0> |  | <-2> | 103.3 | <0> | 8.97 | <0> | 0.06 | <0> | 0.1387 | <0> | 2.01 | <0> | 8.38 | <-3> [SDG] (CSM) | 22.345 | <0> | 1.22 | <0> | 4.83 | <0> | grblrwq072721
0 | 6 | 10 | grb | grblrwq | 2021-07-28 04:37 | 2021-07-28 14:45 | 2021-08-25 12:30 | 2021-08-26 13:30 | 1.1052 | 39.67 |  | 3.205 | <0> | 114.13 | <0> |  | <-2> | 102.7 | <0> | 8.91 | <0> | 0.06 | <0> | 0.1393 | <0> | 2.05 | <0> | 8.4 | <-3> [SDG] (CSM) | 22.381 | <0> | 1.24 | <0> | 4.91 | <0> | grblrwq072721
0 | 6 | 11 | grb | grblrwq | 2021-07-28 06:41 | 2021-07-28 15:00 | 2021-08-25 12:30 | 2021-08-26 13:30 | 1.2752 | 45.64 |  | 2.441 | <0> | 120.44 | <0> |  | <-2> | 100.3 | <0> | 8.66 | <0> | 0.87 | <0> | 1.7142 | <0> | 2.63 | <0> | 8.44 | <-3> [SDG] (CSM) | 22.401 | <0> | 1.41 | <0> | 5.61 | <0> | grblrwq072721
0 | 6 | 12 | grb | grblrwq | 2021-07-28 08:45 | 2021-07-28 15:15 | 2021-08-25 12:30 | 2021-08-26 13:30 | 1.6245 | 57.9 |  | 1.613 | <0> | 112.91 | <0> |  | <-2> | 103.7 | <0> | 8.99 | <0> | 0.07 | <0> | 0.1427 | <0> | 3.44 | <0> | 8.39 | <-3> [SDG] (CSM) | 22.433 | <0> | 1.24 | <0> | 4.9 | <0> | grblrwq072721
0 | 6 | 13 | grb | grblrwq | 2021-07-28 10:49 | 2021-07-28 15:30 | 2021-08-25 12:30 | 2021-08-26 13:30 | 1.6416 | 58.5 |  | 1.039 | <0> | 112.48 | <0> |  | <-2> | 103.7 | <0> | 8.97 | <0> | 0.07 | <0> | 0.1408 | <0> | 4.52 | <0> | 8.36 | <-3> [SDG] (CSM) | 22.549 | <0> | 1.24 | <0> | 4.94 | <0> | grblrwq072721
0 | 7 | 1.1 | grb | grblrwq | 2021-08-26 08:14 | 2021-08-27 11:00 | 2021-09-27 12:00 | 2021-09-28 12:30 | 1.48 | 52.1 | Regular monthly Isco sampling | 1.281 | <0> | 118.73 | <0> |  | <-2> | 103.6 | <0> | 8.72 | <0> | 0.21 | <0> | 0.447 | <0> | 2.24 | <0> | 7.48 | <-3> [SDG] (CSM) | 23.906 | <0> | 1.24 | <0> | 4.93 | <0> | grblrwq082621
0 | 7 | 1.2 | grb | grblrwq | 2021-08-26 08:16 | 2021-08-27 11:20 | 2021-09-27 12:00 | 2021-09-28 12:30 | 1.5604 | 54.92 | Sonde logging every 2" (wiping every 6") | 1.271 | <0> | 118.55 | <0> |  | <-2> | 103.6 | <0> | 8.73 | <0> | 0.2 | <0> | 0.4176 | <0> | 2.2 | <0> | 7.47 | <-3> [SDG] (CSM) | 23.908 | <0> | 1.25 | <0> | 4.96 | <0> | grblrwq082621
0 | 7 | 1.3 | grb | grblrwq | 2021-08-26 08:18 | 2021-08-27 11:40 | 2021-09-27 12:00 | 2021-09-28 12:30 | 1.5043 | 52.95 | Isco is programmed to start one minute before the time the sonde logs | 1.26 | <0> | 118.55 | <0> |  | <-2> | 103.6 | <0> | 8.73 | <0> | 0.19 | <0> | 0.4065 | <0> | 2.16 | <0> | 7.46 | <-3> [SDG] (CSM) | 23.911 | <0> | 1.25 | <0> | 4.96 | <0> | grblrwq082621
0 | 7 | 2 | grb | grblrwq | 2021-08-26 10:18 | 2021-08-27 12:00 | 2021-09-27 12:00 | 2021-09-28 12:30 | 1.8022 | 63.41 |  | 0.76 | <0> | 115.24 | <0> |  | <-2> | 104.2 | <0> | 8.74 | <0> | 0.07 | <0> | 0.1572 | <0> | 2.44 | <0> | 7.4 | <-3> [SDG] (CSM) | 24.134 | <0> | 1.27 | <0> | 5.05 | <0> | grblrwq082621
0 | 7 | 3 | grb | grblrwq | 2021-08-26 12:18 | 2021-08-27 12:20 | 2021-09-27 12:00 | 2021-09-28 12:30 | 1.7666 | 62.16 |  | 1.48 | <0> | 114.69 | <0> |  | <-2> | 104.4 | <0> | 8.73 | <0> | 0.07 | <0> | 0.1474 | <0> | 2.05 | <0> | 7.37 | <-3> [SDG] (CSM) | 24.349 | <0> | 1.25 | <0> | 4.97 | <0> | grblrwq082621
0 | 7 | 4 | grb | grblrwq | 2021-08-26 14:22 | 2021-08-27 12:40 | 2021-09-27 12:00 | 2021-09-28 12:30 | 1.7059 | 60.03 |  | 2.408 | <0> | 114.3 | <0> |  | <-2> | 104 | <0> | 8.68 | <0> | 0.07 | <0> | 0.1439 | <0> | 1.96 | <0> | 7.35 | <-3> [SDG] (CSM) | 24.433 | <0> | 1.3 | <0> | 5.18 | <0> | grblrwq082621
0 | 7 | 5 | grb | grblrwq | 2021-08-26 16:26 | 2021-08-27 13:00 | 2021-09-27 12:00 | 2021-09-28 12:30 | 2.1497 | 75.61 |  | 2.812 | <0> | 117.21 | <0> |  | <-2> | 93.5 | <0> | 7.6 | <0> | 4.22 | <0> | 7.6524 | <0> | 4.14 | <0> | 7.44 | <-3> [SDG] (CSM) | 24.476 | <0> | 1.46 | <0> | 5.82 | <0> | grblrwq082621
0 | 7 | 6 | grb | grblrwq | 2021-08-26 18:30 | 2021-08-27 13:20 | 2021-09-27 12:00 | 2021-09-28 12:30 | 0.003703 | 0.27 |  | 2.088 | <0> | 118.84 | <0> |  | <-2> | 100 | <0> | 8.15 | <0> | 3.63 | <0> | 6.6346 | <0> | 2.54 | <0> | 7.4 | <-3> [SDG] (CSM) | 24.665 | <0> | 1.71 | <0> | 6.82 | <0> | grblrwq082621
0 | 7 | 7 | grb | grblrwq | 2021-08-26 20:34 | 2021-08-27 13:40 | 2021-09-27 12:00 | 2021-09-28 12:30 | 1.3684 | 48.18 |  | 1.304 | <0> | 119.25 | <0> |  | <-2> | 102.4 | <0> | 8.48 | <0> | 0.55 | <0> | 1.1131 | <0> | 2.12 | <0> | 7.44 | <-3> [SDG] (CSM) | 24.756 | <0> | 1.3 | <0> | 5.17 | <0> | grblrwq082621
0 | 7 | 8 | grb | grblrwq | 2021-08-26 22:38 | 2021-08-27 14:00 | 2021-09-27 12:00 | 2021-09-28 12:30 | 1.2878 | 45.35 |  | 0.771 | <0> | 115.28 | <0> |  | <-2> | 103.1 | <0> | 8.55 | <0> | 0.08 | <0> | 0.1695 | <0> | 2.19 | <0> | 7.44 | <-3> [SDG] (CSM) | 24.769 | <0> | 1.28 | <0> | 5.07 | <0> | grblrwq082621
0 | 7 | 9 | grb | grblrwq | 2021-08-27 00:42 | 2021-08-27 14:20 | 2021-09-27 12:00 | 2021-09-28 12:30 | 1.3006 | 45.8 |  | 1.517 | <0> | 115.49 | <0> |  | <-2> | 103.3 | <0> | 8.57 | <0> | 0.07 | <0> | 0.1505 | <0> | 1.99 | <0> | 7.39 | <-3> [SDG] (CSM) | 24.764 | <0> | 1.32 | <0> | 5.22 | <0> | grblrwq082621
0 | 7 | 10 | grb | grblrwq | 2021-08-27 02:46 | 2021-08-27 14:40 | 2021-09-27 12:00 | 2021-09-28 12:30 | 1.3302 | 46.84 |  | 2.407 | <0> | 114.96 | <0> |  | <-2> | 102.9 | <0> | 8.54 | <0> | 0.07 | <0> | 0.1476 | <0> | 1.9 | <0> | 7.37 | <-3> [SDG] (CSM) | 24.752 | <0> | 1.35 | <0> | 5.38 | <0> | grblrwq082621
0 | 7 | 11 | grb | grblrwq | 2021-08-27 04:50 | 2021-08-27 15:00 | 2021-09-27 12:00 | 2021-09-28 12:30 | 3.0236 | 106.29 |  | 2.714 | <0> | 101.77 | <0> |  | <-2> | 83.3 | <0> | 6.46 | <0> | 11.27 | <0> | 18.9972 | <0> | 3.67 | <0> | 7.52 | <-3> [SDG] (CSM) | 24.922 | <0> | 1.56 | <0> | 6.2 | <0> | grblrwq082621
0 | 7 | 12 | grb | grblrwq | 2021-08-27 06:54 | 2021-08-27 15:20 | 2021-09-27 12:00 | 2021-09-28 12:30 | 1.8333 | 64.5 |  | 2.004 | <0> | 121.17 | <0> |  | <-2> | 99.1 | <0> | 8.12 | <0> | 2.12 | <0> | 4.0056 | <0> | 2.29 | <0> | 7.56 | <-3> [SDG] (CSM) | 24.763 | <0> | 1.41 | <0> | 5.6 | <0> | grblrwq082621
0 | 7 | 13 | grb | grblrwq | 2021-08-27 08:58 | 2021-08-27 15:40 | 2021-09-27 12:00 | 2021-09-28 12:30 | 1.7475 | 61.49 |  | 1.231 | <0> | 120.67 | <0> |  | <-2> | 101.8 | <0> | 8.39 | <0> | 1.11 | <0> | 2.1736 | <0> | 1.92 | <0> | 7.42 | <-3> [SDG] (CSM) | 24.839 | <0> | 1.32 | <0> | 5.26 | <0> | grblrwq082621
0 | 8 | 1.1 | grb | grblrwq | 2021-09-20 09:09 | 2021-09-21 11:15 | 2021-09-27 12:00 | 2021-09-28 12:30 | 1.8777 | 66.06 | Regular monthly Isco sampling | 1.532 | <0> | 113.21 | <0> |  | <-2> | 102.7 | <0> | 9.32 | <0> | 0.43 | <0> | 0.8677 | <0> | 1.92 | <0> | 7.68 | <-3> [SDG] (CSM) | 19.972 | <0> | 1.16 | <0> | 4.71 | <0> | grblrwq092021
0 | 8 | 1.2 | grb | grblrwq | 2021-09-20 09:11 | 2021-09-21 11:27 | 2021-09-27 12:00 | 2021-09-28 12:30 | 2.3668 | 83.23 | Sonde logging every 2" (wiping every 6") | 1.546 | <0> | 113.33 | <0> |  | <-2> | 102.7 | <0> | 9.32 | <0> | 0.44 | <0> | 0.8936 | <0> | 1.89 | <0> | 7.66 | <-3> [SDG] (CSM) | 19.981 | <0> | 1.17 | <0> | 4.77 | <0> | grblrwq092021
0 | 8 | 1.3 | grb | grblrwq | 2021-09-20 09:13 | 2021-09-21 11:34 | 2021-09-27 12:00 | 2021-09-28 12:30 | 1.7296 | 60.86 | Isco is programmed to start one minute before the time the sonde logs | 1.561 | <0> | 113.17 | <0> |  | <-2> | 102.7 | <0> | 9.32 | <0> | 0.43 | <0> | 0.8809 | <0> | 1.9 | <0> | 7.66 | <-3> [SDG] (CSM) | 19.988 | <0> | 1.21 | <0> | 4.93 | <0> | grblrwq092021
0 | 8 | 2 | grb | grblrwq | 2021-09-20 11:13 | 2021-09-21 11:46 | 2021-09-27 12:00 | 2021-09-28 12:30 | 1.5561 | 54.77 |  | 2.497 | <0> | 112.84 | <0> |  | <-2> | 93.9 | <0> | 8.35 | <0> | 3.96 | <0> | 7.1772 | <0> | 3.08 | <0> | 7.8 | <-3> [SDG] (CSM) | 19.959 | <0> | 1.27 | <0> | 5.16 | <0> | grblrwq092021
0 | 8 | 3 | grb | grblrwq | 2021-09-20 13:13 | 2021-09-21 11:58 | 2021-09-27 12:00 | 2021-09-28 12:30 | 3.1729 | 111.53 |  | 2.89 | <0> | 99.33 | <0> |  | <-2> | 83.5 | <0> | 7.14 | <0> | 10.32 | <0> | 17.4593 | <0> | 4.5 | <0> | 7.88 | <-3> [SDG] (CSM) | 20.014 | <0> | 1.41 | <0> | 5.73 | <0> | grblrwq092021
0 | 8 | 4 | grb | grblrwq | 2021-09-20 15:17 | 2021-09-21 12:10 | 2021-09-27 12:00 | 2021-09-28 12:30 | 3.8596 | 135.64 |  | 2.111 | <0> | 93.84 | <0> |  | <-2> | 82.4 | <0> | 6.97 | <0> | 12.45 | <0> | 20.7443 | <0> | 4.21 | <0> | 7.87 | <-3> [SDG] (CSM) | 19.989 | <0> | 1.69 | <0> | 6.87 | <0> | grblrwq092021
0 | 8 | 5 | grb | grblrwq | 2021-09-20 17:21 | 2021-09-21 12:22 | 2021-09-27 12:00 | 2021-09-28 12:30 | 1.5558 | 54.76 |  | 1.292 | <0> | 111.07 | <0> |  | <-2> | 98.2 | <0> | 8.82 | <0> | 2.29 | <0> | 4.2923 | <0> | 2 | <0> | 7.82 | <-3> [SDG] (CSM) | 19.921 | <0> | 1.15 | <0> | 4.69 | <0> | grblrwq092021
0 | 8 | 6 | grb | grblrwq | 2021-09-20 19:25 | 2021-09-21 12:34 | 2021-09-27 12:00 | 2021-09-28 12:30 | 1.2658 | 44.58 |  | 0.682 | <0> | 110.26 | <0> |  | <-2> | 101 | <0> | 9.15 | <0> | 0.92 | <0> | 1.8145 | <0> | 1.91 | <0> | 7.73 | <-3> [SDG] (CSM) | 19.885 | <0> | 1.13 | <0> | 4.61 | <0> | grblrwq092021
0 | 8 | 7 | grb | grblrwq | 2021-09-20 21:29 | 2021-09-21 12:46 | 2021-09-27 12:00 | 2021-09-28 12:30 | 1.1653 | 41.05 |  | 1.59 | <0> | 109.33 | <0> |  | <-2> | 101.6 | <0> | 9.24 | <0> | 0.46 | <0> | 0.9289 | <0> | 1.73 | <0> | 7.68 | <-3> [SDG] (CSM) | 19.873 | <0> | 1.13 | <0> | 4.61 | <0> | grblrwq092021
0 | 8 | 8 | grb | grblrwq | 2021-09-20 23:33 | 2021-09-21 12:58 | 2021-09-27 12:00 | 2021-09-28 12:30 | 1.4086 | 49.59 |  | 2.58 | <0> | 109.8 | <0> |  | <-2> | 91.7 | <0> | 8.16 | <0> | 4.42 | <0> | 7.9451 | <0> | 2.58 | <0> | 7.73 | <-3> [SDG] (CSM) | 19.804 | <0> | 1.18 | <0> | 4.79 | <0> | grblrwq092021
0 | 8 | 9 | grb | grblrwq | 2021-09-21 01:37 | 2021-09-21 13:10 | 2021-09-27 12:00 | 2021-09-28 12:30 | 2.765 | 97.21 |  | 2.936 | <0> | 96.15 | <0> |  | <-2> | 81.9 | <0> | 6.99 | <0> | 10.97 | <0> | 18.4666 | <0> | 5.24 | <0> | 7.82 | <-3> [SDG] (CSM) | 19.948 | <0> | 1.37 | <0> | 5.56 | <0> | grblrwq092021
0 | 8 | 10 | grb | grblrwq | 2021-09-21 03:41 | 2021-09-21 13:22 | 2021-09-27 12:00 | 2021-09-28 12:30 | 2.5653 | 90.2 |  | 2.136 | <0> | 92.85 | <0> |  | <-2> | 79.9 | <0> | 6.78 | <0> | 12.02 | <0> | 20.0785 | <0> | 5.13 | <0> | 7.84 | <-3> [SDG] (CSM) | 19.953 | <0> | 1.45 | <0> | 5.87 | <0> | grblrwq092021
0 | 8 | 11 | grb | grblrwq | 2021-09-21 05:45 | 2021-09-21 13:34 | 2021-09-27 12:00 | 2021-09-28 12:30 | 1.5994 | 56.29 |  | 1.297 | <0> | 109.85 | <0> |  | <-2> | 96.7 | <0> | 8.72 | <0> | 3.01 | <0> | 5.5495 | <0> | 2.47 | <0> | 7.74 | <-3> [SDG] (CSM) | 19.559 | <0> | 1.22 | <0> | 4.96 | <0> | grblrwq092021
0 | 8 | 12 | grb | grblrwq | 2021-09-21 07:49 | 2021-09-21 13:46 | 2021-09-27 12:00 | 2021-09-28 12:30 | 1.6316 | 57.42 |  | 0.637 | <0> | 111.61 | <0> |  | <-2> | 100.9 | <0> | 9.22 | <0> | 1.03 | <0> | 2.0212 | <0> | 2.17 | <0> | 7.69 | <-3> [SDG] (CSM) | 19.471 | <0> | 1.15 | <0> | 4.67 | <0> | grblrwq092021
0 | 8 | 13 | grb | grblrwq | 2021-09-21 09:53 | 2021-09-21 13:58 | 2021-09-27 12:00 | 2021-09-28 12:30 | 1.6652 | 58.6 |  | 1.519 | <0> | 110.96 | <0> |  | <-2> | 102.2 | <0> | 9.34 | <0> | 0.56 | <0> | 1.1274 | <0> | 2.02 | <0> | 7.67 | <-3> [SDG] (CSM) | 19.573 | <0> | 1.14 | <0> | 4.65 | <0> | grblrwq092021

## tank-blanks
sample_no | reserve_code | station_code | datetime_collected | field_notes | rep | datetime_filtered | datetime_extracted | datetime_analyzed | chla_ugL | chla_RFU | remarks | sonde_start_time_24hr | sonde_end_time_24hr | Depth | F_Depth | fDOMQSU | F_fDOMQSU | DO_pct | F_DO_pct | DO_mgl | F_DO_mgl | Sal | F_Sal | SpCond | F_SpCond | Turb | F_Turb | pH | F_pH | Temp | F_Temp | ChlorophyllRFU | F_ChlorophyllRFU | ChlFluor | F_ChlFluor | EXO_filename
Blanks
16 | grb | grbulbwq | 2021-09-27 12:00 | ULB sample; collected 12:00EST around low tide, ~3-4ft depth | Blank | 2021-09-27 13:20 | 2021-10-04 12:30 | 2021-10-05 13:30 | 0.0025636 | 0.18 | fDOM RFU not calibrated | 12:33 | 13:32 |  | <0> |  | <0> |  | <0> |  | <0> |  | <0> |  | <0> |  | <0> |  |  |  | <0> |  | <0> |  | <0> | grbulb_tank_092721
17 | grb | grbgbewq | 2021-09-28 07:35 | GBE sample, collected 7:35EST (~1 hour after high); ~7ft depth | Blank | 2021-09-28 08:26 | 2021-10-04 12:30 | 2021-10-05 13:30 | 0.0042727 | 0.24 | fDOM RFU not calibrated | 8:12 | 8:38 |  | <0> |  | <0> |  | <0> |  | <0> |  | <0> |  | <0> |  | <0> |  |  |  | <0> |  | <0> |  | <0> | grbgbe_tank_092821
18 | grb | grbapwq | 2021-09-29 13:30 | AP sample; LT 12:45EST | Blank | 2021-09-29 14:18 | 2021-10-04 12:30 | 2021-10-05 13:30 | 0.010254 | 0.45 | fDOM RFU not calibrated | 14:07 | 14:46 |  | <0> |  | <0> |  | <0> |  | <0> |  | <0> |  | <0> |  | <0> |  |  |  | <0> |  | <0> |  | <0> | grbap_tank_092921
19 | grb | grborwq | 2021-09-30 09:15 | OR sample; HT 8:20EST | Blank | 2021-09-30 12:45 | 2021-10-04 12:30 | 2021-10-05 13:30 | 0.0034181 | 0.21 | fDOM RFU not calibrated | 12:26 | 12:57 |  | <0> |  | <0> |  | <0> |  | <0> |  | <0> |  | <0> |  | <0> |  |  |  | <0> |  | <0> |  | <0> | grbor_tank_093021
20 | grb | grbsqwq | 2021-10-01 09:50 | SQ sample; HT 10:02 | Blank | 2021-10-01 12:07 | 2021-10-04 12:30 | 2021-10-05 13:30 | 0.0014242 | 0.14 | fDOM RFU not calibrated | 11:57 | 12:22 |  | <0> |  | <0> |  | <0> |  | <0> |  | <0> |  | <0> |  | <0> |  |  |  | <0> |  | <0> |  | <0> | grbsq_tank_100121