## tank
QAQC | sample_no | reserve_code | station_code | datetime_collected | field_notes | rep | datetime_filtered | datetime_extracted | datetime_analyzed | chla_ugL | chla_RFU | remarks | sonde_start_time_24hr | sonde_end_time_24hr | Depth | F_Depth | Level | F_Level | fDOMQSU | F_fDOMQSU | fDOMRFU | F_fDOMRFU | DO_pct | F_DO_pct | DO_mgl | F_DO_mgl | Sal | F_Sal | SpCond | F_SpCond | Turb | F_Turb | pH | F_pH | Temp | F_Temp | ChlorophyllRFU | F_ChlorophyllRFU | ChlFluor | F_ChlFluor | EXO_filename
0 | 1 | lks | lksbawq | 2021-03-22 08:00 | coudy, foggy, calm, 30's, ice present, samples taken adjacent to site where hole was already open (SWMP sonde not yet in place) | 1 | 2021-03-22 08:13 | 2021-04-20 12:00 | 2021-04-21 12:00 | 7.08 |  |  | 8:13 | 8:13 | -0.0126 | <0> |  | <-2> | 116.358 | <0> | 38.658 | <0> | 99.7 | <0> | 13.18 | <0> | 0.14 | <0> | 0.2843 | <0> | 5.092 | <0> | 7.34 | <0> | 3.6522 | <0> | 2.74 | <0> | 10.046 | <0> | lks_ba_tank_032221_8
0 | 2 | lks | lksbawq | 2021-03-22 11:00 | coudy, light wind, 30's, ice present, samples taken adjacent to site where hole was already open (SWMP sonde not yet in place) | 1 | 2021-03-22 11:14 | 2021-04-20 12:00 | 2021-04-21 12:00 | 11.15 |  |  | 11:14 | 11:14 | -0.0096 | <0> |  | <-2> | 114.654 | <0> | 38.09 | <0> | 99.8 | <0> | 13.184 | <0> | 0.13 | <0> | 0.2818 | <0> | 3.906 | <0> | 7.54 | <0> | 3.6584 | <0> | 2.596 | <0> | 9.52 | <0> | lks_ba_tank_032221_11
0 | 3 | lks | lksbawq | 2021-03-22 13:00 | coudy, light wind, 30's, ice present, samples taken adjacent to site where hole was already open (SWMP sonde not yet in place) | 1 | 2021-03-22 13:03 | 2021-04-20 12:00 | 2021-04-21 12:00 | 13.46 |  |  | 13:03 | 13:03 | -0.025 | <0> |  | <-2> | 112.154 | <0> | 37.26 | <0> | 100.3 | <0> | 13.2 | <0> | 0.13 | <0> | 0.2809 | <0> | 4.194 | <0> | 7.57 | <0> | 3.8246 | <0> | 2.084 | <0> | 7.604 | <0> | lks_ba_tank_032221_13
0 | 4 | lks | lksbawq | 2021-03-22 15:00 | coudy, light wind, 30's, ice present, samples taken adjacent to site where hole was already open (SWMP sonde not yet in place) | 1 | 2021-03-22 15:04 | 2021-04-20 12:00 | 2021-04-21 12:00 | 11.75 |  |  | 15:04 | 15:04 | -0.03 | <0> |  | <-2> | 111.74 | <0> | 37.122 | <0> | 101.4 | <0> | 13.17 | <0> | 0.13 | <0> | 0.279 | <0> | 4.116 | <0> | 7.6 | <0> | 4.302 | <0> | 1.848 | <0> | 6.738 | <0> | lks_ba_tank_032221_15
0 | 5 | lks | lksbawq | 2021-03-22 16:50 | coudy, light wind, 30's, ice present, samples taken adjacent to site where hole was already open (SWMP sonde not yet in place) | 1 | 2021-03-22 16:59 | 2021-04-20 12:00 | 2021-04-21 12:00 | 12.95 |  |  | 16:59 | 16:59 | -0.026 | <0> |  | <-2> | 111.044 | <0> | 36.89 | <0> | 101.8 | <0> | 13.21 | <0> | 0.13 | <0> | 0.2774 | <0> | 4.392 | <0> | 7.64 | <0> | 4.3604 | <0> | 2.758 | <0> | 10.116 | <0> | lks_ba_tank_032221_17
0 | 5 | lks | lksbawq | 2021-03-22 16:50 | clear , light wind, 30's, ice present, samples taken adjacent to site where hole was already open (SWMP sonde not yet in place) | 2 | 2021-03-22 17:01 | 2021-04-20 12:00 | 2021-04-21 12:00 | 12.15 |  |  | 17:01 | 17:01 | -0.027 | <0> |  | <-2> | 110.978 | <0> | 36.87 | <0> | 102 | <0> | 13.21 | <0> | 0.13 | <0> | 0.2774 | <0> | 4.414 | <0> | 7.63 | <0> | 4.4416 | <0> | 2.44 | <0> | 8.924 | <0> | lks_ba_tank_032221_17
0 | 6 | lks | lksbawq | 2021-04-30 10:20 | clear, calm windy, 20's | 1 | 2021-04-30 10:28 | 2021-05-10 12:00 | 2021-05-11 12:00 | 12.88 |  |  | 10:28 | 10:28 | 0.106 | <0> |  | <-2> | 167.118 | <0> | 55.848 | <0> | 96.04 | <0> | 10.83 | <0> | 0.08 | <0> | 0.173 | <0> | 7.726 | <0> | 7.65 | <0> | 10.013 | <0> | 2.852 | <0> | 11.512 | <0> | lks_ba_tank_043031_10
0 | 7 | lks | lksbawq | 2021-04-30 12:00 | clear, calm windy, 20's | 1 | 2021-04-30 12:05 | 2021-05-10 12:00 | 2021-05-11 12:00 | 10.92 |  |  | 12:05 | 12:05 | 0.1 | <0> |  | <-2> | 165.784 | <0> | 55.4 | <0> | 97.9 | <0> | 10.84 | <0> | 0.08 | <0> | 0.172 | <0> | 7.47 | <0> | 7.68 | <0> | 10.7878 | <0> | 2.814 | <0> | 11.358 | <0> | lks_ba_tank_043031_12
0 | 8 | lks | lksbawq | 2021-04-30 13:30 | clear, calm windy, 20's | 1 | 2021-04-30 13:42 | 2021-05-10 12:00 | 2021-05-11 12:00 | 9.18 |  |  | 13:42 | 13:42 | 0.0892 | <0> |  | <-2> | 153.798 | <0> | 51.4 | <0> | 100.1 | <0> | 10.77 | <0> | 0.08 | <0> | 0.172 | <0> | 9.524 | <0> | 7.7 | <0> | 12.0582 | <0> | 2.522 | <0> | 10.198 | <0> | lks_ba_tank_043031_13
0 | 9 | lks | lksbawq | 2021-04-30 14:45 | clear, calm windy, 20's | 1 | 2021-04-30 14:59 | 2021-05-10 12:00 | 2021-05-11 12:00 | 21.24 |  |  | 14:59 | 14:59 | 0.069 | <0> |  | <-2> | 160.226 | <0> | 53.546 | <0> | 100.2 | <0> | 10.85 | <0> | 0.08 | <0> | 0.172 | <0> | 7.382 | <0> | 7.72 | <0> | 11.8006 | <0> | 2.822 | <0> | 11.392 | <0> | lks_ba_tank_043031_15
0 | 10 | lks | lksbawq | 2021-05-04 07:00 | Cloudy, windy, 30's | 1 | 2021-05-04 07:18 | 2021-05-10 12:00 | 2021-05-11 12:00 | 16.63 |  |  | 7:18 | 7:18 | 0.024 | <0> |  | <-2> | 166.176 | <0> | 55.534 | <0> | 94.2 | <0> | 10.53 | <0> | 0.08 | <0> | 0.171 | <0> | 8.412 | <0> | 7.49 | <0> | 10.3924 | <0> | 3.028 | <0> | 12.226 | <0> | lks_ba_tank_050421_7
0 | 11 | lks | lksbawq | 2021-05-04 08:00 | Cloudy, windy, 30's | 1 | 2021-05-04 08:02 | 2021-05-10 12:00 | 2021-05-11 12:00 | 15.17 |  |  | 8:02 | 8:02 | 0.0142 | <0> |  | <-2> | 166.484 | <0> | 55.636 | <0> | 94.4 | <0> | 10.598 | <0> | 0.08 | <0> | 0.17 | <0> | 8.68 | <0> | 7.61 | <0> | 10.221 | <0> | 2.88 | <0> | 11.63 | <0> | lks_ba_tank_050421_8
0 | 12 | lks | lksbawq | 2021-05-04 09:00 | Cloudy, windy, 30's | 1 | 2021-05-04 09:06 | 2021-05-10 12:00 | 2021-05-11 12:00 | 15.82 |  |  | 9:06 | 9:06 | 0.024 | <0> |  | <-2> | 164.024 | <0> | 54.816 | <0> | 94.6 | <0> | 10.49 | <0> | 0.08 | <0> | 0.171 | <0> | 8.554 | <0> | 7.67 | <0> | 10.728 | <0> | 2.998 | <0> | 12.098 | <0> | lks_ba_tank_050421_9
0 | 13 | lks | lksbawq | 2021-05-04 09:30 | Cloudy, windy, 30's | 1 | 2021-05-04 09:38 | 2021-05-10 12:00 | 2021-05-11 12:00 | 21.63 |  |  | 9:38 | 9:38 | 0.017 | <0> |  | <-2> | 164.738 | <0> | 55.052 | <0> | 94.5 | <0> | 10.55 | <0> | 0.08 | <0> | 0.171 | <0> | 8.508 | <0> | 7.69 | <0> | 10.438 | <0> | 3.406 | <0> | 13.728 | <0> | lks_ba_tank_050421_10
0 | 14 | lks | lksbawq | 2021-05-04 10:00 | Cloudy, windy, 30's | 1 | 2021-05-04 10:07 | 2021-05-10 12:00 | 2021-05-11 12:00 | 20.9 |  |  | 10:07 | 10:07 | 0.0184 | <0> |  | <-2> | 163.784 | <0> | 54.732 | <0> | 94.9 | <0> | 10.54 | <0> | 0.08 | <0> | 0.17 | <0> | 8.838 | <0> | 7.69 | <0> | 10.6596 | <0> | 3.278 | <0> | 13.226 | <0> | lks_ba_tank_050421_11
0 | 15 | lks | lksbawq | 2021-05-04 13:00 | Cloudy, windy, 30's | 1 | 2021-05-04 13:17 | 2021-05-10 12:00 | 2021-05-11 12:00 | 14.41 |  |  | 13:17 | 13:17 | 0.014 | <0> |  | <-2> | 161.636 | <0> | 54.018 | <0> | 96.84 | <0> | 10.58 | <0> | 0.08 | <0> | 0.168 | <0> | 9.552 | <0> | 7.7 | <0> | 11.3888 | <0> | 2.516 | <0> | 10.166 | <0> | lks_ba_tank_050421_13
0 | 16 | lks | lksbawq | 2021-05-04 14:00 | Cloudy, windy, 30's | 1 | 2021-05-04 14:21 | 2021-05-10 12:00 | 2021-05-11 12:00 | 15.13 |  |  | 14:21 | 14:21 | 0.014 | <0> |  | <-2> | 160.588 | <0> | 53.666 | <0> | 97.8 | <0> | 10.65 | <0> | 0.08 | <0> | 0.167 | <0> | 11.868 | <0> | 7.74 | <0> | 11.5288 | <0> | 2.924 | <0> | 11.804 | <0> | lks_ba_tank_050421_14
0 | 16 | lks | lksbawq | 2021-05-04 14:00 | Cloudy, windy, 30's | 2 | 2021-05-04 14:23 | 2021-05-10 12:00 | 2021-05-11 12:00 | 13.78 |  |  | 14:23 | 14:23 | 0.014 | <0> |  | <-2> | 160.576 | <0> | 53.662 | <0> | 97.9 | <0> | 10.65 | <0> | 0.08 | <0> | 0.167 | <0> | 12.03 | <0> | 7.74 | <0> | 11.577 | <0> | 2.964 | <0> | 11.954 | <0> | lks_ba_tank_050421_14
0 | 16 | lks | lksbawq | 2021-05-04 14:00 | Cloudy, windy, 30's | 3 | 2021-05-04 14:26 | 2021-05-10 12:00 | 2021-05-11 12:00 | 12.99 |  |  | 14:26 | 14:26 | 0.015 | <0> |  | <-2> | 160.526 | <0> | 53.648 | <0> | 98.1 | <0> | 10.66 | <0> | 0.08 | <0> | 0.167 | <0> | 12.48 | <0> | 7.74 | <0> | 11.6428 | <0> | 2.946 | <0> | 11.888 | <0> | lks_ba_tank_050421_14
0 | 17 | lks | lksbawq | 2021-05-19 07:25 | foggy, calm wind, 40's - 50's | 1 | 2021-05-19 07:49 | 2021-05-20 12:00 | 2021-05-21 08:00 | 13.85 |  |  | 7:49 | 7:49 | 0.0036 | <0> |  | <-2> | 155.43 | <0> | 51.62 | <0> | 95.4 | <0> | 9.22 | <0> | 0.08 | <0> | 0.172 | <0> | 6.582 | <0> | 7.71 | <0> | 17.0056 | <0> | 4.018 | <0> | 16.096 | <0> | lks_ba_tank_051921_1
-3 | 18 | lks | lksbawq | 2021-05-19 08:27 | foggy, calm wind, 40's - 50's | 1 | 2021-05-19 08:47 | 2021-05-20 12:00 | 2021-05-21 08:00 | 14.25 |  | REJECT Spinner stopped spinning | 8:47 | 8:47 | 0.0018 | <0> |  | <-2> | 155.942 | <0> | 51.79 | <0> | 95.4 | <0> | 9.206 | <0> | 0.08 | <0> | 0.17 | <0> | 6.236 | <0> | 7.73 | <0> | 17.0512 | <0> | 5.428 | <0> | 21.788 | <0> | lks_ba_tank_051921_2
-3 | 19 | lks | lksbawq | 2021-05-19 09:23 | foggy, calm wind, 40's - 50's | 1 | 2021-05-19 09:42 | 2021-05-20 12:00 | 2021-05-21 08:00 | 14.65 |  | REJECT Spinner stopped spinning | 9:42 | 9:42 | 0.004 | <0> |  | <-2> | 155.672 | <0> | 51.7 | <0> | 95.5 | <0> | 9.23 | <0> | 0.08 | <0> | 0.171 | <0> | 6.142 | <0> | 7.77 | <0> | 16.9758 | <0> | 2.892 | <0> | 11.548 | <0> | lks_ba_tank_051921_3
-3 | 20 | lks | lksbawq | 2021-05-19 10:28 | foggy, calm wind, 40's - 50's | 1 | 2021-05-19 10:50 | 2021-05-20 12:00 | 2021-05-21 08:00 | 15.27 |  | REJECT Spinner stopped spinning, strangly high RFUs right when sample was taken that were highter than the acclimation time RFUs and reading afterward | 10:50 | 10:50 | 0.0064 | <0> |  | <-2> | 155.346 | <0> | 51.588 | <0> | 96 | <0> | 9.2 | <0> | 0.08 | <0> | 0.172 | <0> | 6.416 | <0> | 7.74 | <0> | 17.4204 | <0> | 9.31 | <0> | 37.468 | <0> | lks_ba_tank_051921_4
0 | 21 | lks | lksbawq | 2021-05-19 11:27 | cloudy, calm wind, 40's - 50's | 1 | 2021-05-19 11:51 | 2021-05-20 12:00 | 2021-05-21 08:00 | 13.69 |  |  | 11:51 | 11:51 | 0.008 | <0> |  | <-2> | 156.186 | <0> | 51.87 | <0> | 96.04 | <0> | 9.22 | <0> | 0.08 | <0> | 0.174 | <0> | 6.64 | <0> | 7.74 | <0> | 17.3192 | <0> | 3 | <0> | 11.996 | <0> | lks_ba_tank_051921_5
0 | 22 | lks | lksbawq | 2021-05-19 12:26 | cloudy, calm wind, 40's - 50's | 1 | 2021-05-19 12:46 | 2021-05-20 12:00 | 2021-05-21 08:00 | 15.14 |  |  | 12:46 | 12:46 | 0.0058 | <0> |  | <-2> | 153.782 | <0> | 51.07 | <0> | 96.2 | <0> | 9.17 | <0> | 0.08 | <0> | 0.174 | <0> | 6.692 | <0> | 7.75 | <0> | 17.66 | <0> | 3.024 | <0> | 12.096 | <0> | lks_ba_tank_051921_6
0 | 23 | lks | lksbawq | 2021-05-19 13:25 | cloudy, calm wind, 40's - 50's | 1 | 2021-05-19 13:46 | 2021-05-20 12:00 | 2021-05-21 08:00 | 15.3 |  |  | 13:46 | 13:46 | 0.0052 | <0> |  | <-2> | 153.038 | <0> | 50.82 | <0> | 96.4 | <0> | 9.2 | <0> | 0.08 | <0> | 0.173 | <0> | 6.062 | <0> | 7.76 | <0> | 17.601 | <0> | 4.392 | <0> | 17.602 | <0> | lks_ba_tank_051921_7
0 | 24 | lks | lksbawq | 2021-05-19 14:26 | cloudy, calm wind, 40's - 50's | 1 | 2021-05-19 14:42 | 2021-05-20 12:00 | 2021-05-21 08:00 | 15.33 |  |  | 14:42 | 14:42 | 0.005 | <0> |  | <-2> | 153.924 | <0> | 51.114 | <0> | 96.6 | <0> | 9.21 | <0> | 0.08 | <0> | 0.174 | <0> | 7.348 | <0> | 7.77 | <0> | 17.6428 | <0> | 3.122 | <0> | 12.476 | <0> | lks_ba_tank_051921_8
0 | 25 | lks | lksbawq | 2021-05-26 07:26 | cloudy, windy, 40's - 50's | 1 | 2021-05-26 07:47 | 2021-05-27 11:30 | 2021-05-28 08:00 | 25.07 |  |  | 7:47 | 7:47 | 0.040909 | <0> |  | <-2> | 194.5955 | <0> | 64.6064 | <0> | 94.5 | <0> | 9.74 | <0> | 0.09 | <0> | 0.193 | <0> | 11.1818 | <0> | 7.8 | <0> | 13.971 | <0> | 4.5664 | <0> | 18.4155 | <0> | lks_ba_tank_052621_1
0 | 26 | lks | lksbawq | 2021-05-26 08:26 | cloudy, windy, 40's - 50's | 1 | 2021-05-26 08:44 | 2021-05-27 11:30 | 2021-05-28 08:00 | 27.98 |  |  | 8:44 | 8:44 | 0.04075 | <0> |  | <-2> | 195.7463 | <0> | 64.9888 | <0> | 94.9 | <0> | 9.8 | <0> | 0.09 | <0> | 0.193 | <0> | 10.43 | <0> | 7.83 | <0> | 13.8591 | <0> | 4.46 | <0> | 17.985 | <0> | lks_ba_tank_052621_2
-3 | 27 | lks | lksbawq | 2021-05-26 09:25 | cloudy, windy, 40's - 50's | 1 | 2021-05-26 09:45 | 2021-05-27 11:30 | 2021-05-28 08:00 | 26.57 |  | REJECT Spinner stopped spinning | 9:45 | 9:45 | 0.048 | <0> |  | <-2> | 195.4583 | <0> | 64.8917 | <0> | 95.7 | <0> | 9.86 | <0> | 0.09 | <0> | 0.192 | <0> | 9.2583 | <0> | 7.84 | <0> | 13.998 | <0> | 6.925 | <0> | 27.9183 | <0> | lks_ba_tank_052621_3
0 | 28 | lks | lksbawq | 2021-05-26 10:23 | cloudy, windy, 40's - 50's | 1 | 2021-05-26 10:49 | 2021-05-27 11:30 | 2021-05-28 08:00 | 25.97 |  |  | 10:49 | 10:49 | 0.060636 | <0> |  | <-2> | 194.1355 | <0> | 64.4545 | <0> | 97.1 | <0> | 9.87 | <0> | 0.09 | <0> | 0.191 | <0> | 9.52 | <0> | 7.87 | <0> | 14.6001 | <0> | 4.8936 | <0> | 19.73 | <0> | lks_ba_tank_052621_4
0 | 28 | lks | lksbawq | 2021-05-26 10:23 | cloudy, windy, 40's - 50's | 2 | 2021-05-26 10:51 | 2021-05-27 11:30 | 2021-05-28 08:00 | 26.86 |  |  | 10:49 | 10:49 | 0.060636 | <0> |  | <-2> | 194.1355 | <0> | 64.4545 | <0> | 97.1 | <0> | 9.87 | <0> | 0.09 | <0> | 0.191 | <0> | 9.52 | <0> | 7.87 | <0> | 14.6001 | <0> | 4.8936 | <0> | 19.73 | <0> | lks_ba_tank_052621_4
0 | 28 | lks | lksbawq | 2021-05-26 10:23 | cloudy, windy, 40's - 50's | 3 | 2021-05-26 10:55 | 2021-05-27 11:30 | 2021-05-28 08:00 | 25.6 |  |  | 10:55 | 10:55 | 0.082 | <0> |  | <-2> | 194.6433 | <0> | 64.6233 | <0> | 97.2 | <0> | 9.87 | <0> | 0.09 | <0> | 0.191 | <0> | 9.405 | <0> | 7.86 | <0> | 14.6757 | <0> | 4.505 | <0> | 18.1733 | <0> | lks_ba_tank_052621_4
0 | 29 | lks | lksbawq | 2021-05-26 11:27 | cloudy, windy, 40's - 50's | 1 | 2021-05-26 11:50 | 2021-05-27 11:30 | 2021-05-28 08:00 | 31.34 |  |  | 11:50 | 11:50 | 0.072 | <0> |  | <-2> | 192.9183 | <0> | 64.05 | <0> | 97.6 | <0> | 9.8 | <0> | 0.09 | <0> | 0.192 | <0> | 9.055 | <0> | 7.87 | <0> | 15.1783 | <0> | 4.3733 | <0> | 17.645 | <0> | lks_ba_tank_052621_5
0 | 30 | lks | lksbawq | 2021-05-26 12:23 | cloudy, windy, 40's - 50's | 1 | 2021-05-26 12:50 | 2021-05-27 11:30 | 2021-05-28 08:00 | 28.34 |  |  | 12:50 | 12:50 | 0.064167 | <0> |  | <-2> | 190.875 | <0> | 63.3717 | <0> | 98.2 | <0> | 9.78 | <0> | 0.09 | <0> | 0.19 | <0> | 8.97 | <0> | 7.89 | <0> | 15.5825 | <0> | 5.3767 | <0> | 21.68 | <0> | lks_ba_tank_052621_6
-3 | 31 | lks | lksbawq | 2021-05-26 13:27 | cloudy, windy, 40's - 50's | 1 | 2021-05-26 13:47 | 2021-05-27 11:30 | 2021-05-28 08:00 | 7.58 |  | REJECT extracted value seems much too low given the other sample's values from the same day | 13:47 | 13:47 | 0.067125 | <0> |  | <-2> | 184.72 | <0> | 61.33 | <0> | 99.3 | <0> | 9.81 | <0> | 0.09 | <0> | 0.19 | <0> | 8.5263 | <0> | 7.93 | <0> | 15.9345 | <0> | 4.475 | <0> | 18.0362 | <0> | lks_ba_tank_052621_7
1 | 32 | lks | lksbawq | 2021-05-26 14:24 | clear, windy, 40's - 50's | 1 | 2021-05-26 14:55 | 2021-05-27 11:30 | 2021-05-28 08:00 | 28.98 |  | Left off the value in the average from 14:52:01 because chla RFU jumped up really high | 14:52 | 14:52 | 0.062 | <0> |  | <-2> | 191.1988 | <0> | 63.4788 | <0> | 100.1 | <0> | 9.85 | <0> | 0.09 | <0> | 0.19 | <0> | 8.1387 | <0> | 7.97 | <0> | 16.1434 | <0> | 4.9014 | <0> | 19.7657 | <0> | lks_ba_tank_052621_8
0 | 33 | lks | lksbawq | 2021-06-09 07:32 | clear, light wind, 50's - 60's | 1 | 2021-06-09 07:52 | 2021-06-10 11:00 | 2021-06-11 08:00 | 9.65 |  |  | 7:52 | 7:52 | 0.071875 | <0> |  | <-2> | 127.0512 | <0> | 41.7587 | <0> | 95.4 | <0> | 8.42 | <0> | 0.1 | <0> | 0.203 | <0> | 7.9138 | <0> | 7.83 | <0> | 21.472 | <0> | 2.58 | <0> | 8.7338 | <0> | lks_ba_tank_060921
0 | 34 | lks | lksbawq | 2021-06-09 08:30 | clear, light wind, 50's - 60's | 1 | 2021-06-09 08:51 | 2021-06-10 11:00 | 2021-06-11 08:00 | 4.79 |  |  | 8:51 | 8:51 | 0.073 | <0> |  | <-2> | 125.9463 | <0> | 41.395 | <0> | 95 | <0> | 8.39 | <0> | 0.1 | <0> | 0.203 | <0> | 9.1113 | <0> | 7.82 | <0> | 21.4464 | <0> | 2.5788 | <0> | 8.725 | <0> | lks_ba_tank_060921
0 | 35 | lks | lksbawq | 2021-06-09 09:27 | clear, light wind, 50's - 60's | 1 | 2021-06-09 09:51 | 2021-06-10 11:00 | 2021-06-11 08:00 | 9.3 |  |  | 9:51 | 9:51 | 0.073 | <0> |  | <-2> | 125.5287 | <0> | 41.2587 | <0> | 94 | <0> | 8.3 | <0> | 0.1 | <0> | 0.203 | <0> | 8.6325 | <0> | 7.8 | <0> | 21.4458 | <0> | 2.3337 | <0> | 7.9025 | <0> | lks_ba_tank_060921
0 | 36 | lks | lksbawq | 2021-06-09 10:25 | clear, light wind, 50's - 60's | 1 | 2021-06-09 10:52 | 2021-06-10 11:00 | 2021-06-11 08:00 | 3.64 |  |  | 10:52 | 10:52 | 0.070526 | <0> |  | <-2> | 125.1716 | <0> | 41.1405 | <0> | 95.3 | <0> | 8.3305 | <0> | 0.1 | <0> | 0.203 | <0> | 8.5821 | <0> | 7.83 | <0> | 21.977 | <0> | 2.5484 | <0> | 8.6242 | <0> | lks_ba_tank_060921
0 | 36 | lks | lksbawq | 2021-06-09 10:25 | clear, light wind, 50's - 60's | 2 | 2021-06-09 10:52 | 2021-06-10 11:00 | 2021-06-11 08:00 | 7.86 |  |  | 10:52 | 10:52 | 0.070526 | <0> |  | <-2> | 125.1716 | <0> | 41.1405 | <0> | 95.3 | <0> | 8.3305 | <0> | 0.1 | <0> | 0.203 | <0> | 8.5821 | <0> | 7.83 | <0> | 21.977 | <0> | 2.5484 | <0> | 8.6242 | <0> | lks_ba_tank_060921
0 | 36 | lks | lksbawq | 2021-06-09 10:25 | clear, light wind, 50's - 60's | 3 | 2021-06-09 10:52 | 2021-06-10 11:00 | 2021-06-11 08:00 | 9.44 |  |  | 10:52 | 10:52 | 0.070526 | <0> |  | <-2> | 125.1716 | <0> | 41.1405 | <0> | 95.3 | <0> | 8.3305 | <0> | 0.1 | <0> | 0.203 | <0> | 8.5821 | <0> | 7.83 | <0> | 21.977 | <0> | 2.5484 | <0> | 8.6242 | <0> | lks_ba_tank_060921
0 | 37 | lks | lksbawq | 2021-06-09 11:27 | clear, light wind, 50's - 60's | 1 | 2021-06-09 11:47 | 2021-06-10 11:00 | 2021-06-11 08:00 | 9.26 |  |  | 11:47 | 11:47 | 0.066 | <0> |  | <-2> | 125.1238 | <0> | 41.125 | <0> | 96.2 | <0> | 8.4 | <0> | 0.1 | <0> | 0.203 | <0> | 8.4975 | <0> | 7.86 | <0> | 22.0563 | <0> | 2.4375 | <0> | 8.255 | <0> | lks_ba_tank_060921
0 | 38 | lks | lksbawq | 2021-06-09 12:28 | clear, light wind, 50's - 60's | 1 | 2021-06-09 12:49 | 2021-06-10 11:00 | 2021-06-11 08:00 | 7.49 |  |  | 12:49 | 12:49 | 0.064 | <0> |  | <-2> | 123.4173 | <0> | 40.5636 | <0> | 96.4 | <0> | 8.4 | <0> | 0.1 | <0> | 0.202 | <0> | 8.7018 | <0> | 7.89 | <0> | 22.1568 | <0> | 2.5 | <0> | 8.4655 | <0> | lks_ba_tank_060921
0 | 39 | lks | lksbawq | 2021-06-09 13:30 | clear, light wind, 50's - 60's | 1 | 2021-06-09 13:50 | 2021-06-10 11:00 | 2021-06-11 08:00 | 7.24 |  |  | 13:50 | 13:50 | 0.06 | <0> |  | <-2> | 124.671 | <0> | 40.974 | <0> | 96.73 | <0> | 8.44 | <0> | 0.1 | <0> | 0.202 | <0> | 8.412 | <0> | 7.9 | <0> | 22.076 | <0> | 2.67 | <0> | 9.035 | <0> | lks_ba_tank_060921
0 | 40 | lks | lksbawq | 2021-06-09 14:29 | clear, light wind, 50's - 60's | 1 | 2021-06-09 14:52 | 2021-06-10 11:00 | 2021-06-11 08:00 | 8.88 |  |  | 14:52 | 14:52 | 0.054889 | <0> |  | <-2> | 123.4778 | <0> | 40.58 | <0> | 97.1 | <0> | 8.46 | <0> | 0.1 | <0> | 0.203 | <0> | 7.9678 | <0> | 7.94 | <0> | 22.1984 | <0> | 2.5633 | <0> | 8.6678 | <0> | lks_ba_tank_060921
0 | 41 | lks | lksbawq | 2021-06-16 07:24 | clear, calm, 60's | 1 | 2021-06-16 07:47 | 2021-06-17 11:30 | 2021-06-18 08:00 | 12.78 |  |  | 7:48 | 7:48 | 0.084667 | <0> |  | <-2> | 112.9083 | <0> | 37.27 | <0> | 96.4 | <0> | 8.48 | <0> | 0.09 | <0> | 0.198 | <0> | 10.76 | <0> | 7.88 | <0> | 21.668 | <0> | 2.485 | <0> | 10.3617 | <0> | lks_ba_tank_061621
0 | 42 | lks | lksbawq | 2021-06-16 08:25 | clear, calm, 60's | 1 | 2021-06-16 08:47 | 2021-06-17 11:30 | 2021-06-18 08:00 | 8.77 |  |  | 8:47 | 8:47 | 0.087 | <0> |  | <-2> | 112.4086 | <0> | 37.1043 | <0> | 96.4 | <0> | 8.45 | <0> | 0.09 | <0> | 0.198 | <0> | 10.3829 | <0> | 7.85 | <0> | 21.829 | <0> | 2.4757 | <0> | 10.3214 | <0> | lks_ba_tank_061621
0 | 43 | lks | lksbawq | 2021-06-16 09:25 | clear, calm, 60's | 1 | 2021-06-16 09:45 | 2021-06-17 11:30 | 2021-06-18 08:00 | 14.84 |  |  | 9:45 | 9:45 | 0.081 | <0> |  | <-2> | 111.47 | <0> | 36.795 | <0> | 96.7 | <0> | 8.46 | <0> | 0.09 | <0> | 0.198 | <0> | 10.3483 | <0> | 7.88 | <0> | 21.93 | <0> | 2.4417 | <0> | 10.1817 | <0> | lks_ba_tank_061621
0 | 44 | lks | lksbawq | 2021-06-16 10:25 | clear, calm, 60's | 1 | 2021-06-16 10:52 | 2021-06-17 11:30 | 2021-06-18 08:00 | 13.99 |  |  | 10:52 | 10:52 | 0.06975 | <0> |  | <-2> | 111.845 | <0> | 36.9181 | <0> | 95.9 | <0> | 8.38 | <0> | 0.09 | <0> | 0.198 | <0> | 10.1969 | <0> | 7.8613 | <0> | 22.0074 | <0> | 2.6044 | <0> | 10.8388 | <0> | lks_ba_tank_061621
0 | 44 | lks | lksbawq | 2021-06-16 10:25 | clear, calm, 60's | 2 | 2021-06-16 10:52 | 2021-06-17 11:30 | 2021-06-18 08:00 | 14.53 |  |  | 10:52 | 10:52 | 0.06975 | <0> |  | <-2> | 111.845 | <0> | 36.9181 | <0> | 95.9 | <0> | 8.38 | <0> | 0.09 | <0> | 0.198 | <0> | 10.1969 | <0> | 7.8613 | <0> | 22.0074 | <0> | 2.6044 | <0> | 10.8388 | <0> | lks_ba_tank_061621
0 | 44 | lks | lksbawq | 2021-06-16 10:25 | clear, calm, 60's | 3 | 2021-06-16 10:52 | 2021-06-17 11:30 | 2021-06-18 08:00 | 13.78 |  |  | 10:52 | 10:52 | 0.06975 | <0> |  | <-2> | 111.845 | <0> | 36.9181 | <0> | 95.9 | <0> | 8.38 | <0> | 0.09 | <0> | 0.198 | <0> | 10.1969 | <0> | 7.8613 | <0> | 22.0074 | <0> | 2.6044 | <0> | 10.8388 | <0> | lks_ba_tank_061621
0 | 45 | lks | lksbawq | 2021-06-16 11:25 | clear, calm, 60's | 1 | 2021-06-16 11:44 | 2021-06-17 11:30 | 2021-06-18 08:00 | 10.04 |  |  | 11:44 | 11:44 | 0.067364 | <0> |  | <-2> | 111.4218 | <0> | 36.78 | <0> | 96.9818 | <0> | 8.4482 | <0> | 0.09 | <0> | 0.198 | <0> | 10.1618 | <0> | 7.89 | <0> | 22.1733 | <0> | 2.6482 | <0> | 11.0118 | <0> | lks_ba_tank_061621
0 | 46 | lks | lksbawq | 2021-06-16 12:25 | clear, calm, 60's | 1 | 2021-06-16 12:45 | 2021-06-17 11:30 | 2021-06-18 08:00 | 6.61 |  |  | 12:45 | 12:45 | 0.062 | <0> |  | <-2> | 110.4575 | <0> | 36.46 | <0> | 97.8 | <0> | 8.47 | <0> | 0.09 | <0> | 0.198 | <0> | 9.9675 | <0> | 7.95 | <0> | 22.4626 | <0> | 2.615 | <0> | 10.8875 | <0> | lks_ba_tank_061621
0 | 47 | lks | lksbawq | 2021-06-16 13:23 | clear, calm, 60's | 1 | 2021-06-16 13:41 | 2021-06-17 11:30 | 2021-06-18 08:00 | 11.94 |  |  | 13:41 | 13:41 | 0.052 | <0> |  | <-2> | 100.6487 | <0> | 33.2287 | <0> | 98.3 | <0> | 8.5 | <0> | 0.09 | <0> | 0.198 | <0> | 9.7063 | <0> | 7.94 | <0> | 22.5726 | <0> | 2.5838 | <0> | 10.7613 | <0> | lks_ba_tank_061621
0 | 48 | lks | lksbawq | 2021-06-16 14:25 | clear, calm, 60's | 1 | 2021-06-16 14:45 | 2021-06-17 11:30 | 2021-06-18 08:00 | 11.38 |  |  | 14:45 | 14:45 | 0.041 | <0> |  | <-2> | 109.8143 | <0> | 36.25 | <0> | 98.3 | <0> | 8.5 | <0> | 0.09 | <0> | 0.198 | <0> | 11.45 | <0> | 7.9714 | <0> | 22.5806 | <0> | 2.7714 | <0> | 11.51 | <0> | lks_ba_tank_061621
0 | 49 | lks | lksbawq | 2021-06-23 07:27 | clear, windy, 70's - 80's | 1 | 2021-06-23 07:49 | 2021-06-24 11:30 | 2021-06-25 08:00 | 22.18 |  |  | 7:49 | 7:49 | -0.04 | <0> |  | <-2> | 84 | <0> | 27.8518 | <0> | 98.3 | <0> | 9.12 | <0> | 0.09 | <0> | 0.184 | <0> | 7.2627 | <0> | 8.05 | <0> | 18.9968 | <0> | 3.3891 | <0> | 14.9482 | <0> | lks_ba_tank_062321
0 | 50 | lks | lksbawq | 2021-06-23 08:25 | clear, windy, 70's - 80's | 1 | 2021-06-23 08:45 | 2021-06-24 11:30 | 2021-06-25 08:00 | 16.87 |  |  | 8:45 | 8:45 | -0.044 | <0> |  | <-2> | 84.5414 | <0> | 28.0314 | <0> | 98.5 | <0> | 9.0986 | <0> | 0.09 | <0> | 0.185 | <0> | 8.7571 | <0> | 8.04 | <0> | 19.1929 | <0> | 3.5471 | <0> | 15.6471 | <0> | lks_ba_tank_062321
0 | 51 | lks | lksbawq | 2021-06-23 09:27 | clear, windy, 70's - 80's | 1 | 2021-06-23 09:46 | 2021-06-24 11:30 | 2021-06-25 08:00 | 18.89 |  |  | 9:46 | 9:46 | -0.05 | <0> |  | <-2> | 84.2613 | <0> | 27.9388 | <0> | 99 | <0> | 9.09 | <0> | 0.09 | <0> | 0.184 | <0> | 8.2413 | <0> | 8.09 | <0> | 19.499 | <0> | 3.4337 | <0> | 15.1538 | <0> | lks_ba_tank_062321
0 | 52 | lks | lksbawq | 2021-06-23 10:24 | clear, windy, 70's - 80's | 1 | 2021-06-23 10:48 | 2021-06-24 11:30 | 2021-06-25 08:00 | 16.85 |  |  | 10:48 | 10:48 | -0.054 | <0> |  | <-2> | 84.5786 | <0> | 28.0424 | <0> | 100.1 | <0> | 9.15 | <0> | 0.09 | <0> | 0.184 | <0> | 8.9986 | <0> | 8.09 | <0> | 19.6874 | <0> | 3.7057 | <0> | 16.3533 | <0> | lks_ba_tank_062321
0 | 52 | lks | lksbawq | 2021-06-23 10:24 | clear, windy, 70's - 80's | 2 | 2021-06-23 10:48 | 2021-06-24 11:30 | 2021-06-25 08:00 | 20.46 |  |  | 10:48 | 10:48 | -0.054 | <0> |  | <-2> | 84.5786 | <0> | 28.0424 | <0> | 100.1 | <0> | 9.15 | <0> | 0.09 | <0> | 0.184 | <0> | 8.9986 | <0> | 8.09 | <0> | 19.6874 | <0> | 3.7057 | <0> | 16.3533 | <0> | lks_ba_tank_062321
0 | 52 | lks | lksbawq | 2021-06-23 10:24 | clear, windy, 70's - 80's | 3 | 2021-06-23 10:48 | 2021-06-24 11:30 | 2021-06-25 08:00 | 15.43 |  |  | 10:48 | 10:48 | -0.054 | <0> |  | <-2> | 84.5786 | <0> | 28.0424 | <0> | 100.1 | <0> | 9.15 | <0> | 0.09 | <0> | 0.184 | <0> | 8.9986 | <0> | 8.09 | <0> | 19.6874 | <0> | 3.7057 | <0> | 16.3533 | <0> | lks_ba_tank_062321
0 | 53 | lks | lksbawq | 2021-06-23 11:24 | clear, windy, 70's - 80's | 1 | 2021-06-23 11:45 | 2021-06-24 11:30 | 2021-06-25 08:00 | 22.1 |  |  | 11:45 | 11:45 | -0.061 | <0> |  | <-2> | 84.445 | <0> | 27.9988 | <0> | 100 | <0> | 9.04 | <0> | 0.09 | <0> | 0.184 | <0> | 9.0862 | <0> | 8.15 | <0> | 20.3004 | <0> | 3.5738 | <0> | 15.7675 | <0> | lks_ba_tank_062321
0 | 54 | lks | lksbawq | 2021-06-23 12:30 | clear, windy, 70's - 80's | 1 | 2021-06-23 12:49 | 2021-06-24 11:30 | 2021-06-25 08:00 | 28.45 |  |  | 12:49 | 12:49 | -0.067571 | <0> |  | <-2> | 84.6014 | <0> | 28.0486 | <0> | 100.8 | <0> | 9.05 | <0> | 0.09 | <0> | 0.184 | <0> | 8.8086 | <0> | 8.19 | <0> | 20.6111 | <0> | 3.7814 | <0> | 16.6871 | <0> | lks_ba_tank_062321
0 | 55 | lks | lksbawq | 2021-06-23 13:27 | clear, windy, 70's - 80's | 1 | 2021-06-23 13:47 | 2021-06-24 11:30 | 2021-06-25 08:00 | 27.14 |  |  | 13:47 | 13:47 | -0.072 | <0> |  | <-2> | 84.4471 | <0> | 28 | <0> | 101.4 | <0> | 9.03 | <0> | 0.09 | <0> | 0.184 | <0> | 8.2471 | <0> | 8.22 | <0> | 21.0456 | <0> | 3.97 | <0> | 17.5157 | <0> | lks_ba_tank_062321
0 | 56 | lks | lksbawq | 2021-06-23 14:22 | clear, windy, 70's - 80's | 1 | 2021-06-23 14:42 | 2021-06-24 11:30 | 2021-06-25 08:00 | 25.63 |  |  | 14:42 | 14:42 | -0.075286 | <0> |  | <-2> | 82.6071 | <0> | 27.39 | <0> | 101.7 | <0> | 9.04 | <0> | 0.09 | <0> | 0.183 | <0> | 8.4843 | <0> | 8.24 | <0> | 21.115 | <0> | 3.8329 | <0> | 16.9143 | <0> | lks_ba_tank_062321
0 | 57 | lks | lksbawq | 2021-06-30 07:25 | clear, light wind, 70's - 80's | 1 | 2021-06-30 07:47 | 2021-07-01 11:30 | 2021-07-02 08:00 | 21.4 |  |  | 7:47 | 7:47 | 0.056 | <0> |  | <-2> | 85.4778 | <0> | 28.8711 | <0> | 98.2 | <0> | 8.62 | <0> | 0.09 | <0> | 0.192 | <0> | 8.9 | <0> | 7.93 | <0> | 21.7708 | <0> | 3.4478 | <0> | 13.9622 | <0> | lks_ba_tank_063021
0 | 58 | lks | lksbawq | 2021-06-30 08:23 | clear, light wind, 70's - 80's | 1 | 2021-06-30 08:45 | 2021-07-01 11:30 | 2021-07-02 08:00 | 21.45 |  |  | 8:45 | 8:45 | 0.059375 | <0> |  | <-2> | 86.1525 | <0> | 29.0987 | <0> | 98.2 | <0> | 8.5812 | <0> | 0.09 | <0> | 0.193 | <0> | 8.2725 | <0> | 7.93 | <0> | 22.0021 | <0> | 3.1612 | <0> | 12.8175 | <0> | lks_ba_tank_063021
0 | 59 | lks | lksbawq | 2021-06-30 09:23 | clear, light wind, 70's - 80's | 1 | 2021-06-30 09:43 | 2021-07-01 11:30 | 2021-07-02 08:00 | 24.21 |  |  | 9:43 | 9:43 | 0.057286 | <0> |  | <-2> | 85.9086 | <0> | 29.0143 | <0> | 98.9 | <0> | 8.6 | <0> | 0.09 | <0> | 0.19371 | <0> | 8.4143 | <0> | 7.97 | <0> | 22.2359 | <0> | 3.18 | <0> | 12.8929 | <0> | lks_ba_tank_063021
0 | 60 | lks | lksbawq | 2021-06-30 10:23 | clear, light wind, 70's - 80's | 1 | 2021-06-30 10:46 | 2021-07-01 11:30 | 2021-07-02 08:00 | 22.23 |  |  | 10:46 | 10:46 | 0.058875 | <0> |  | <-2> | 84.5744 | <0> | 28.5669 | <0> | 100.4 | <0> | 8.7194 | <0> | 0.09 | <0> | 0.192 | <0> | 7.6194 | <0> | 7.97 | <0> | 22.36 | <0> | 3.2656 | <0> | 13.2412 | <0> | lks_ba_tank_063021
0 | 60 | lks | lksbawq | 2021-06-30 10:23 | clear, light wind, 70's - 80's | 2 | 2021-06-30 10:46 | 2021-07-01 11:30 | 2021-07-02 08:00 | 23.04 |  |  | 10:46 | 10:46 | 0.058875 | <0> |  | <-2> | 84.5744 | <0> | 28.5669 | <0> | 100.4 | <0> | 8.7194 | <0> | 0.09 | <0> | 0.192 | <0> | 7.6194 | <0> | 7.97 | <0> | 22.36 | <0> | 3.2656 | <0> | 13.2412 | <0> | lks_ba_tank_063021
0 | 60 | lks | lksbawq | 2021-06-30 10:23 | clear, light wind, 70's - 80's | 3 | 2021-06-30 10:46 | 2021-07-01 11:30 | 2021-07-02 08:00 | 21.22 |  |  | 10:46 | 10:46 | 0.058875 | <0> |  | <-2> | 84.5744 | <0> | 28.5669 | <0> | 100.4 | <0> | 8.7194 | <0> | 0.09 | <0> | 0.192 | <0> | 7.6194 | <0> | 7.97 | <0> | 22.36 | <0> | 3.2656 | <0> | 13.2412 | <0> | lks_ba_tank_063021
0 | 61 | lks | lksbawq | 2021-06-30 11:22 | clear, light wind, 70's - 80's | 1 | 2021-06-30 11:41 | 2021-07-01 11:30 | 2021-07-02 08:00 | 22.95 |  |  | 11:41 | 11:41 | 0.056 | <0> |  | <-2> | 82.3 | <0> | 27.8 | <0> | 100.5 | <0> | 8.57 | <0> | 0.09 | <0> | 0.192 | <0> | 7.0362 | <0> | 8.05 | <0> | 23.2713 | <0> | 3.0613 | <0> | 12.425 | <0> | lks_ba_tank_063021
0 | 62 | lks | lksbawq | 2021-06-30 12:23 | clear, light wind, 70's - 80's | 1 | 2021-06-30 12:42 | 2021-07-01 11:30 | 2021-07-02 08:00 | 20.14 |  |  | 12:42 | 12:42 | 0.055 | <0> |  | <-2> | 76.5913 | <0> | 25.875 | <0> | 101.625 | <0> | 8.56 | <0> | 0.09 | <0> | 0.191 | <0> | 6.3537 | <0> | 8.11 | <0> | 23.933 | <0> | 2.7612 | <0> | 11.21 | <0> | lks_ba_tank_063021
0 | 63 | lks | lksbawq | 2021-06-30 13:22 | clear, light wind, 70's - 80's | 1 | 2021-06-30 13:42 | 2021-07-01 11:30 | 2021-07-02 08:00 | 16.36 |  |  | 13:42 | 13:42 | 0.052 | <0> |  | <-2> | 81.3487 | <0> | 27.4787 | <0> | 101.625 | <0> | 8.5 | <0> | 0.09 | <0> | 0.19 | <0> | 6.55 | <0> | 8.13 | <0> | 24.3636 | <0> | 2.8588 | <0> | 11.5988 | <0> | lks_ba_tank_063021
0 | 64 | lks | lksbawq | 2021-06-30 14:22 | clear, light wind, 70's - 80's | 1 | 2021-06-30 14:42 | 2021-07-01 11:30 | 2021-07-02 08:00 | 18.66 |  |  | 14:42 | 14:42 | 0.051 | <0> |  | <-2> | 80.8438 | <0> | 27.3075 | <0> | 102.3 | <0> | 8.53 | <0> | 0.09 | <0> | 0.188 | <0> | 6.0675 | <0> | 8.23 | <0> | 24.457 | <0> | 4.1837 | <0> | 16.9425 | <0> | lks_ba_tank_063021
0 | 65 | lks | lksbawq | 2021-07-14 07:30 | cloudy, calm wind, 60's | 1 | 2021-07-14 07:46 | 2021-07-20 09:30 | 2021-07-21 09:30 | 15.78 |  |  | 7:46 | 7:46 | 0.03 | <0> |  | <-2> | 70.21 | <0> | 23.59 | <0> | 98.4 | <0> | 8.43 | <0> | 0.08 | <0> | 0.177 | <0> | 4.79 | <0> | 8.21 | <0> | 23.08 | <0> | 1.971 | <0> | 8.385 | <0> | lks_ba_tank_071421
0 | 66 | lks | lksbawq | 2021-07-14 08:30 | cloudy, calm wind, 60's | 1 | 2021-07-14 08:49 | 2021-07-20 09:30 | 2021-07-21 09:30 | 17.13 |  |  | 8:49 | 8:49 | 0.03 | <0> |  | <-2> | 70.57 | <0> | 23.71 | <0> | 98.8 | <0> | 8.47 | <0> | 0.08 | <0> | 0.177 | <0> | 5.047 | <0> | 8.27 | <0> | 23.02 | <0> | 2.269 | <0> | 9.5786 | <0> | lks_ba_tank_071421
0 | 67 | lks | lksbawq | 2021-07-14 09:30 | cloudy, calm wind, 60's | 1 | 2021-07-14 09:43 | 2021-07-20 09:30 | 2021-07-21 09:30 | 14.94 |  |  | 9:43 | 9:43 | 0.03 | <0> |  | <-2> | 70.34 | <0> | 23.63 | <0> | 99 | <0> | 8.51 | <0> | 0.08 | <0> | 0.177 | <0> | 4.749 | <0> | 8.3 | <0> | 22.9 | <0> | 2.136 | <0> | 9.0463 | <0> | lks_ba_tank_071421
0 | 68 | lks | lksbawq | 2021-07-14 10:30 | cloudy, calm wind, 60's | 1 | 2021-07-14 10:47 | 2021-07-20 09:30 | 2021-07-21 09:30 | 14.02 |  |  | 10:47 | 10:47 | 0.04 | <0> |  | <-2> | 69.59 | <0> | 23.38 | <0> | 100.2 | <0> | 8.58 | <0> | 0.08 | <0> | 0.177 | <0> | 4.953 | <0> | 8.34 | <0> | 23.04 | <0> | 2.431 | <0> | 10.2336 | <0> | lks_ba_tank_071421
0 | 68 | lks | lksbawq | 2021-07-14 10:30 | cloudy, calm wind, 60's | 2 | 2021-07-14 10:47 | 2021-07-20 09:30 | 2021-07-21 09:30 | 11.64 |  |  | 10:47 | 10:47 | 0.04 | <0> |  | <-2> | 69.59 | <0> | 23.38 | <0> | 100.2 | <0> | 8.58 | <0> | 0.08 | <0> | 0.177 | <0> | 4.953 | <0> | 8.34 | <0> | 23.04 | <0> | 2.431 | <0> | 10.2336 | <0> | lks_ba_tank_071421
0 | 68 | lks | lksbawq | 2021-07-14 10:30 | cloudy, calm wind, 60's | 3 | 2021-07-14 10:47 | 2021-07-21 09:30 | 2021-07-21 09:30 | 11.68 |  |  | 10:47 | 10:47 | 0.04 | <0> |  | <-2> | 69.59 | <0> | 23.38 | <0> | 100.2 | <0> | 8.58 | <0> | 0.08 | <0> | 0.177 | <0> | 4.953 | <0> | 8.34 | <0> | 23.04 | <0> | 2.431 | <0> | 10.2336 | <0> | lks_ba_tank_071421
0 | 69 | lks | lksbawq | 2021-07-14 11:30 | cloudy, calm wind, 60's | 1 | 2021-07-14 11:50 | 2021-07-22 09:30 | 2021-07-21 09:30 | 18.63 |  |  | 11:50 | 11:50 | 0.028 | <0> |  | <-2> | 68.41 | <0> | 22.98 | <0> | 99.2 | <0> | 8.53 | <0> | 0.08 | <0> | 0.177 | <0> | 4.789 | <0> | 8.36 | <0> | 22.85 | <0> | 2.314 | <0> | 9.7571 | <0> | lks_ba_tank_071421
0 | 70 | lks | lksbawq | 2021-07-14 12:30 | cloudy, calm wind, 60's | 1 | 2021-07-14 12:49 | 2021-07-23 09:30 | 2021-07-21 09:30 | 12.65 |  |  | 12:49 | 12:49 | 0.023 | <0> |  | <-2> | 69.85 | <0> | 23.47 | <0> | 99.7 | <0> | 8.57 | <0> | 0.08 | <0> | 0.177 | <0> | 4.38 | <0> | 8.42 | <0> | 22.85 | <0> | 2.088 | <0> | 8.8556 | <0> | lks_ba_tank_071421
0 | 71 | lks | lksbawq | 2021-07-14 13:30 | cloudy, calm wind, 60's | 1 | 2021-07-14 13:41 | 2021-07-24 09:30 | 2021-07-21 09:30 | 18.48 |  |  | 13:41 | 13:41 | 0.016 | <0> |  | <-2> | 69.41 | <0> | 23.32 | <0> | 100.2 | <0> | 8.61 | <0> | 0.08 | <0> | 0.177 | <0> | 4.189 | <0> | 8.45 | <0> | 22.91 | <0> | 2.751 | <0> | 11.51 | <0> | lks_ba_tank_071421
0 | 72 | lks | lksbawq | 2021-07-14 14:30 | cloudy, calm wind, 60's | 1 | 2021-07-14 14:44 | 2021-07-25 09:30 | 2021-07-21 09:30 | 20.77 |  |  | 14:44 | 14:44 | 0.013 | <0> |  | <-2> | 69.59 | <0> | 23.38 | <0> | 101 | <0> | 8.73 | <0> | 0.08 | <0> | 0.177 | <0> | 4.273 | <0> | 8.46 | <0> | 22.59 | <0> | 2.523 | <0> | 10.59 | <0> | lks_ba_tank_071421
0 | 73 | lks | lksbawq | 2021-08-04 09:00 | sunny but smoky, light wind, 70's-80's | 1 | 2021-08-04 09:16 | 2021-08-18 11:30 | 2021-08-19 12:00 | 47.06 |  |  | 9:15 | 9:15 | 0.057 | <0> |  | <-2> | 61.62 | <0> | 20.79 | <0> | 98.3 | <0> | 8.5 | <0> | 0.09 | <0> | 0.183 | <0> | 9.7 | <0> | 8.33 | <0> | 22.57 | <0> | 6.507 | <0> | 26.4243 | <0> | lks_ba_tank_080421
0 | 74 | lks | lksbawq | 2021-08-04 10:00 | sunny but smoky, light wind, 70's-80's | 1 | 2021-08-04 10:20 | 2021-08-18 11:30 | 2021-08-19 12:00 | 39.48 |  |  | 10:18 | 10:18 | 0.059 | <0> |  | <-2> | 61.31 | <0> | 20.69 | <0> | 99.4 | <0> | 8.47 | <0> | 0.09 | <0> | 0.183 | <0> | 9.64 | <0> | 8.44 | <0> | 23.32 | <0> | 5.106 | <0> | 20.7871 | <0> | lks_ba_tank_080421
0 | 75 | lks | lksbawq | 2021-08-04 11:00 | sunny but smoky, light wind, 70's-80's | 1 | 2021-08-04 11:16 | 2021-08-18 11:30 | 2021-08-19 12:00 | 34.23 |  |  | 11:15 | 11:15 | 0.055 | <0> |  | <-2> | 59.69 | <0> | 20.14 | <0> | 99.8 | <0> | 8.49 | <0> | 0.09 | <0> | 0.183 | <0> | 9.263 | <0> | 8.56 | <0> | 23.4 | <0> | 6.142 | <0> | 24.9517 | <0> | lks_ba_tank_080421
0 | 76 | lks | lksbawq | 2021-08-04 12:00 | sunny but smoky, light wind, 70's-80's | 1 | 2021-08-04 12:14 | 2021-08-18 11:30 | 2021-08-19 12:00 | 39.22 |  |  | 12:12 | 12:12 | 0.051 | <0> |  | <-2> | 60.79 | <0> | 20.51 | <0> | 101 | <0> | 8.53 | <0> | 0.09 | <0> | 0.183 | <0> | 8.677 | <0> | 8.66 | <0> | 23.83 | <0> | 7.613 | <0> | 30.8783 | <0> | lks_ba_tank_080421
0 | 77 | lks | lksbawq | 2021-08-04 13:00 | sunny but smoky, light wind, 70's-80's | 1 | 2021-08-04 13:19 | 2021-08-18 11:30 | 2021-08-19 12:00 | 36.28 |  |  | 13:18 | 13:18 | 0.049 | <0> |  | <-2> | 60.65 | <0> | 20.46 | <0> | 102 | <0> | 8.66 | <0> | 0.09 | <0> | 0.183 | <0> | 9.198 | <0> | 8.59 | <0> | 23.53 | <0> | 6.326 | <0> | 25.6973 | <0> | lks_ba_tank_080421
0 | 77 | lks | lksbawq | 2021-08-04 13:00 | sunny but smoky, light wind, 70's-80's | 2 | 2021-08-04 13:19 | 2021-08-18 11:30 | 2021-08-19 12:00 | 39.28 |  |  | 13:18 | 13:18 | 0.049 | <0> |  | <-2> | 60.65 | <0> | 20.46 | <0> | 102 | <0> | 8.66 | <0> | 0.09 | <0> | 0.183 | <0> | 9.198 | <0> | 8.59 | <0> | 23.53 | <0> | 6.326 | <0> | 25.6973 | <0> | lks_ba_tank_080421
0 | 77 | lks | lksbawq | 2021-08-04 13:00 | sunny but smoky, light wind, 70's-80's | 3 | 2021-08-04 13:19 | 2021-08-18 11:30 | 2021-08-19 12:00 | 37.22 |  |  | 13:18 | 13:18 | 0.049 | <0> |  | <-2> | 60.65 | <0> | 20.46 | <0> | 102 | <0> | 8.66 | <0> | 0.09 | <0> | 0.183 | <0> | 9.198 | <0> | 8.59 | <0> | 23.53 | <0> | 6.326 | <0> | 25.6973 | <0> | lks_ba_tank_080421
0 | 78 | lks | lksbawq | 2021-08-31 10:25 | sunny, light wind, 60's | 1 | 2021-08-31 10:40 | 2021-09-20 10:00 | 2021-09-21 09:00 | 27.4 |  |  | 10:40 | 10:40 | -0.026864 | <0> |  | <-2> | 47.11 | <0> | 15.76 | <0> | 103.2 | <0> | 9.27 | <0> | 0.08 | <0> | 0.175 | <0> | 8.937 | <0> | 8.23 | <0> | 20.62 | <0> | 3.647 | <0> | 14.9159 | <0> | lks_ba_tank_080421
0 | 78 | lks | lksbawq | 2021-08-31 10:25 | sunny, light wind, 60's | 2 | 2021-08-31 10:40 | 2021-09-20 10:00 | 2021-09-21 09:00 | 29.55 |  |  | 10:40 | 10:40 | -0.026864 | <0> |  | <-2> | 47.11 | <0> | 15.76 | <0> | 103.2 | <0> | 9.27 | <0> | 0.08 | <0> | 0.175 | <0> | 8.937 | <0> | 8.23 | <0> | 20.62 | <0> | 3.647 | <0> | 14.9159 | <0> | lks_ba_tank_080421
0 | 78 | lks | lksbawq | 2021-08-31 10:25 | sunny, light wind, 60's | 3 | 2021-08-31 10:40 | 2021-09-20 10:00 | 2021-09-21 09:00 | 29.78 |  |  | 10:40 | 10:40 | -0.026864 | <0> |  | <-2> | 47.11 | <0> | 15.76 | <0> | 103.2 | <0> | 9.27 | <0> | 0.08 | <0> | 0.175 | <0> | 8.937 | <0> | 8.23 | <0> | 20.62 | <0> | 3.647 | <0> | 14.9159 | <0> | lks_ba_tank_080421
0 | 79 | lks | lksbawq | 2021-08-31 11:23 | sunny, light wind, 60's | 1 | 2021-08-31 11:40 | 2021-09-20 10:00 | 2021-09-21 09:00 | 28.57 |  |  | 11:32 | 11:32 | -0.025 | <0> |  | <-2> | 46.76 | <0> | 15.65 | <0> | 103.8 | <0> | 9.29 | <0> | 0.08 | <0> | 0.178 | <0> | 8.918 | <0> | 8.29 | <0> | 20.79 | <0> | 3.308 | <0> | 13.55 | <0> | lks_ba_tank_080421
0 | 80 | lks | lksbawq | 2021-08-31 12:50 | partly cloudy, gusty, 60's-70's | 1 | 2021-08-31 13:10 | 2021-09-20 10:00 | 2021-09-21 09:00 | 29.79 |  |  | 12:56 | 12:56 | -0.025 | <0> |  | <-2> | 46.03 | <0> | 15.4 | <0> | 110.7 | <0> | 9.81 | <0> | 0.08 | <0> | 0.177 | <0> | 8.086 | <0> | 8.5 | <0> | 21.29 | <0> | 3.089 | <0> | 12.6512 | <0> | lks_ba_tank_080421
0 | 81 | lks | lksbawq | 2021-08-31 13:45 | partly cloudy, gusty, 60's-70's | 1 | 2021-08-31 13:55 | 2021-09-20 10:00 | 2021-09-21 09:00 | 27.06 |  |  | 13:56 | 13:56 | -0.036714 | <0> |  | <-2> | 45.74 | <0> | 15.3 | <0> | 112.7 | <0> | 9.93 | <0> | 0.08 | <0> | 0.176 | <0> | 7.893 | <0> | 8.55 | <0> | 21.58 | <0> | 3.222 | <0> | 13.191 | <0> | lks_ba_tank_080421
0 | 82 | lks | lksbawq | 2021-08-31 14:40 | partly cloudy, gusty, 60's-70's | 1 | 2021-08-31 14:55 | 2021-09-20 10:00 | 2021-09-21 09:00 | 19.39 |  |  | 14:46 | 14:46 | -0.039 | <0> |  | <-2> | 46.03 | <0> | 15.4 | <0> | 114.1 | <0> | 10.07 | <0> | 0.08 | <0> | 0.176 | <0> | 7.355 | <0> | 8.65 | <0> | 21.48 | <0> | 3.054 | <0> | 12.5052 | <0> | lks_ba_tank_080421

## isco
QAQC | isco_deployment_no | sample_no | reserve_code | station_code | datetime_collected | datetime_filtered | datetime_extracted | datetime_analyzed | chla_ugl | chla_RFU | remarks | Depth | F_Depth | Level | F_Level | fDOMQSU | F_fDOMQSU | fDOMRFU | F_fDOMRFU | DO_pct | F_DO_pct | DO_mgl | F_DO_mgl | Sal | F_Sal | SpCond | F_SpCond | Turb | F_Turb | pH | F_pH | Temp | F_Temp | ChlorophyllRFU | F_ChlorophyllRFU | ChlFluor | F_ChlFluor | EXO_filename
0 | 1 | 1 | lks | lksbawq | 2021-05-06 12:00 | 2021-05-07 12:00 | 2021-05-10 12:30 | 2021-05-11 12:00 | 14.49 |  | exo logged every minute | 0.963 | <0> |  | <-2> | 166.57 | <0> | 55.66 | <0> | 94.7 | <0> | 10.38 | <0> | 0.08 | <0> | 0.17 | <0> | 6.31 | <0> | 7.68 | <0> | 11.207 | <0> | 2.9 | <0> | 11.61 | <0> | lksbawq050521_chla_QC
0 | 1 | 2 | lks | lksbawq | 2021-05-06 14:00 | 2021-05-07 12:00 | 2021-05-10 12:30 | 2021-05-11 12:00 | 13.21 |  | exo logged every minute | 0.938 | <0> |  | <-2> | 164.76 | <0> | 55.06 | <0> | 96.5 | <0> | 10.42 | <0> | 0.08 | <0> | 0.17 | <0> | 6.46 | <0> | 7.7 | <0> | 11.856 | <0> | 3.16 | <0> | 12.64 | <0> | lksbawq050521_chla_QC
0 | 1 | 3 | lks | lksbawq | 2021-05-06 16:00 | 2021-05-07 12:00 | 2021-05-10 12:30 | 2021-05-11 12:00 | 22.13 |  | exo logged every minute | 0.925 | <0> |  | <-2> | 164.03 | <0> | 54.81 | <0> | 96.2 | <0> | 10.36 | <0> | 0.08 | <0> | 0.169 | <0> | 7.02 | <0> | 7.68 | <0> | 12.016 | <0> | 2.83 | <0> | 11.3 | <0> | lksbawq050521_chla_QC
0 | 1 | 4 | lks | lksbawq | 2021-05-06 18:00 | 2021-05-07 12:00 | 2021-05-10 12:30 | 2021-05-11 12:00 | 11.58 |  | exo logged every minute | 0.922 | <0> |  | <-2> | 164.3 | <0> | 54.91 | <0> | 97.2 | <0> | 10.45 | <0> | 0.08 | <0> | 0.166 | <0> | 7.21 | <0> | 7.71 | <0> | 12.116 | <0> | 3.37 | <0> | 13.49 | <0> | lksbawq050521_chla_QC
0 | 1 | 5 | lks | lksbawq | 2021-05-06 20:00 | 2021-05-07 12:00 | 2021-05-10 12:30 | 2021-05-11 12:00 | 6.95 |  | exo logged every minute | 0.934 | <0> |  | <-2> | 164.43 | <0> | 54.95 | <0> | 96.1 | <0> | 10.36 | <0> | 0.08 | <0> | 0.167 | <0> | 7.23 | <0> | 7.69 | <0> | 11.984 | <0> | 2.91 | <0> | 11.64 | <0> | lksbawq050521_chla_QC
0 | 1 | 6 | lks | lksbawq | 2021-05-06 22:00 | 2021-05-07 12:00 | 2021-05-10 12:30 | 2021-05-11 12:00 | 10.61 |  | exo logged every minute | 0.947 | <0> |  | <-2> | 163.54 | <0> | 54.65 | <0> | 94.8 | <0> | 10.27 | <0> | 0.08 | <0> | 0.17 | <0> | 7.91 | <0> | 7.71 | <0> | 11.717 | <0> | 3.7 | <0> | 14.81 | <0> | lksbawq050521_chla_QC
0 | 1 | 7 | lks | lksbawq | 2021-05-07 | 2021-05-07 12:00 | 2021-05-10 12:30 | 2021-05-11 12:00 | 13.69 |  | exo logged every minute (matched with 00:01 because of unusually high RFU reading at 00:00) | 0.948 | <0> |  | <-2> | 164.59 | <0> | 55 | <0> | 94.1 | <0> | 10.25 | <0> | 0.08 | <0> | 0.171 | <0> | 7.46 | <0> | 7.7 | <0> | 11.539 | <0> | 3.14 | <0> | 12.55 | <0> | lksbawq050521_chla_QC
0 | 1 | 8 | lks | lksbawq | 2021-05-07 02:00 | 2021-05-07 12:00 | 2021-05-10 12:30 | 2021-05-11 12:00 | 13.34 |  | exo logged every minute | 0.946 | <0> |  | <-2> | 165.43 | <0> | 55.28 | <0> | 93.3 | <0> | 10.22 | <0> | 0.08 | <0> | 0.171 | <0> | 7.15 | <0> | 7.69 | <0> | 11.26 | <0> | 2.98 | <0> | 11.93 | <0> | lksbawq050521_chla_QC
0 | 1 | 9 | lks | lksbawq | 2021-05-07 04:00 | 2021-05-07 12:00 | 2021-05-10 12:30 | 2021-05-11 12:00 | 12.04 |  | exo logged every minute | 0.953 | <0> |  | <-2> | 167.54 | <0> | 55.99 | <0> | 92.1 | <0> | 10.21 | <0> | 0.08 | <0> | 0.171 | <0> | 7.12 | <0> | 7.66 | <0> | 10.737 | <0> | 2.87 | <0> | 11.48 | <0> | lksbawq050521_chla_QC
0 | 1 | 10 | lks | lksbawq | 2021-05-07 06:00 | 2021-05-07 12:00 | 2021-05-10 12:30 | 2021-05-11 12:00 | 12.52 |  | exo logged every minute | 0.959 | <0> |  | <-2> | 168.13 | <0> | 56.18 | <0> | 91 | <0> | 10.19 | <0> | 0.08 | <0> | 0.171 | <0> | 7.6 | <0> | 7.66 | <0> | 10.31 | <0> | 2.45 | <0> | 9.79 | <0> | lksbawq050521_chla_QC
0 | 1 | 11 | lks | lksbawq | 2021-05-07 08:00 | 2021-05-07 12:00 | 2021-05-10 12:30 | 2021-05-11 12:00 | 13.77 |  | exo logged every minute | 0.973 | <0> |  | <-2> | 166.96 | <0> | 55.8 | <0> | 91.1 | <0> | 10.23 | <0> | 0.08 | <0> | 0.171 | <0> | 8.14 | <0> | 7.68 | <0> | 10.203 | <0> | 2.93 | <0> | 11.73 | <0> | lksbawq050521_chla_QC
0 | 1 | 12 | lks | lksbawq | 2021-05-07 10:00 | 2021-05-07 12:00 | 2021-05-10 12:30 | 2021-05-11 12:00 | 17.13 |  | exo logged every minute | 0.977 | <0> |  | <-2> | 167.56 | <0> | 55.99 | <0> | 92.1 | <0> | 10.32 | <0> | 0.08 | <0> | 0.171 | <0> | 7.6 | <0> | 7.69 | <0> | 10.272 | <0> | 3.11 | <0> | 12.45 | <0> | lksbawq050521_chla_QC
0 | 2 | 13 | lks | lksbawq | 2021-06-07 10:00 | 2021-06-08 15:00 | 2021-06-22 13:00 | 2021-06-23 13:00 | 2.42 |  | exo logged every 2 minutes, no fDOM sensor | 0.852 | <0> |  | <-2> |  | <-2> |  | <-2> | 88.4 | <0> | 8.03 | <0> | 0.09 | <0> | 0.2 | <0> | 7.67 | <0> | 7.61 | <0> | 20.012 | <0> | 2.58 | <0> | 10.46 | <0> | lksbawq060721_chla_QC
0 | 2 | 14 | lks | lksbawq | 2021-06-07 12:00 | 2021-06-08 15:00 | 2021-06-22 13:00 | 2021-06-23 13:00 | 3.32 |  | exo logged every 2 minutes, no fDOM sensor | 0.848 | <0> |  | <-2> |  | <-2> |  | <-2> | 90.4 | <0> | 8.22 | <0> | 0.09 | <0> | 0.2 | <0> | 8.41 | <0> | 7.65 | <0> | 19.989 | <0> | 3.41 | <0> | 13.83 | <0> | lksbawq060721_chla_QC
0 | 2 | 15 | lks | lksbawq | 2021-06-07 14:00 | 2021-06-08 15:00 | 2021-06-22 13:00 | 2021-06-23 13:00 | 4.39 |  | exo logged every 2 minutes, no fDOM sensor | 0.843 | <0> |  | <-2> |  | <-2> |  | <-2> | 96.9 | <0> | 8.49 | <0> | 0.1 | <0> | 0.202 | <0> | 7.74 | <0> | 7.71 | <0> | 21.842 | <0> | 2.79 | <0> | 11.32 | <0> | lksbawq060721_chla_QC
0 | 2 | 16 | lks | lksbawq | 2021-06-07 16:00 | 2021-06-08 15:00 | 2021-06-22 13:00 | 2021-06-23 13:00 | 3.45 |  | exo logged every 2 minutes, no fDOM sensor | 0.835 | <0> |  | <-2> |  | <-2> |  | <-2> | 105 | <0> | 8.8 | <0> | 0.09 | <0> | 0.202 | <0> | 7.09 | <0> | 7.84 | <0> | 24.2 | <0> | 2.36 | <0> | 9.55 | <0> | lksbawq060721_chla_QC
0 | 2 | 17 | lks | lksbawq | 2021-06-07 18:00 | 2021-06-08 15:00 | 2021-06-22 13:00 | 2021-06-23 13:00 | 4.04 |  | exo logged every 2 minutes, no fDOM sensor | 0.833 | <0> |  | <-2> |  | <-2> |  | <-2> | 106.2 | <0> | 8.94 | <0> | 0.09 | <0> | 0.202 | <0> | 6.74 | <0> | 7.84 | <0> | 23.984 | <0> | 2.81 | <0> | 11.37 | <0> | lksbawq060721_chla_QC
0 | 2 | 18 | lks | lksbawq | 2021-06-07 20:00 | 2021-06-08 15:00 | 2021-06-22 13:00 | 2021-06-23 13:00 | 5.11 |  | exo logged every 2 minutes, no fDOM sensor | 0.839 | <0> |  | <-2> |  | <-2> |  | <-2> | 102.2 | <0> | 8.67 | <0> | 0.1 | <0> | 0.202 | <0> | 6.65 | <0> | 7.78 | <0> | 23.603 | <0> | 2.83 | <0> | 11.47 | <0> | lksbawq060721_chla_QC
0 | 2 | 19 | lks | lksbawq | 2021-06-07 22:00 | 2021-06-08 15:00 | 2021-06-22 13:00 | 2021-06-23 13:00 | 5.62 |  | exo logged every 2 minutes, no fDOM sensor | 0.853 | <0> |  | <-2> |  | <-2> |  | <-2> | 95.8 | <0> | 8.35 | <0> | 0.1 | <0> | 0.205 | <0> | 8.11 | <0> | 7.76 | <0> | 22.141 | <0> | 3.18 | <0> | 12.86 | <0> | lksbawq060721_chla_QC
0 | 2 | 20 | lks | lksbawq | 2021-06-08 | 2021-06-08 15:00 | 2021-06-22 13:00 | 2021-06-23 13:00 | 6.47 |  | exo logged every 2 minutes, no fDOM sensor | 0.862 | <0> |  | <-2> |  | <-2> |  | <-2> | 92.5 | <0> | 8.17 | <0> | 0.1 | <0> | 0.203 | <0> | 10.85 | <0> | 7.66 | <0> | 21.423 | <0> | 3.38 | <0> | 13.7 | <0> | lksbawq060721_chla_QC
-3 | 2 | 21 | lks | lksbawq | 2021-06-08 02:00 | 2021-06-08 15:00 | 2021-06-22 13:00 | 2021-06-23 13:00 |  |  | Lab Error No Data |  | <-2> |  | <-2> |  | <-2> |  | <-2> |  | <-2> |  | <-2> |  | <-2> |  | <-2> |  | <-2> |  | <-2> |  | <-2> |  | <-2> |  | <-2> | lksbawq060721_chla_QC
-3 | 2 | 22 | lks | lksbawq | 2021-06-08 04:00 | 2021-06-08 15:00 | 2021-06-22 13:00 | 2021-06-23 13:00 |  |  | Lab Error No Data |  | <-2> |  | <-2> |  | <-2> |  | <-2> |  | <-2> |  | <-2> |  | <-2> |  | <-2> |  | <-2> |  | <-2> |  | <-2> |  | <-2> |  | <-2> | lksbawq060721_chla_QC
0 | 2 | 23 | lks | lksbawq | 2021-06-08 06:00 | 2021-06-08 15:00 | 2021-06-22 13:00 | 2021-06-23 13:00 | 4.84 |  | exo logged every 2 minutes, no fDOM sensor | 0.891 | <0> |  | <-2> |  | <-2> |  | <-2> | 88.9 | <0> | 7.9 | <0> | 0.1 | <0> | 0.203 | <0> | 8.23 | <0> | 7.64 | <0> | 21.151 | <0> | 3.15 | <0> | 12.78 | <0> | lksbawq060721_chla_QC
0 | 2 | 24 | lks | lksbawq | 2021-06-08 08:00 | 2021-06-08 15:00 | 2021-06-22 13:00 | 2021-06-23 13:00 | 4.41 |  | exo logged every 2 minutes, no fDOM sensor | 0.894 | <0> |  | <-2> |  | <-2> |  | <-2> | 89.3 | <0> | 7.94 | <0> | 0.1 | <0> | 0.203 | <0> | 8.01 | <0> | 7.64 | <0> | 21.088 | <0> | 2.41 | <0> | 9.76 | <0> | lksbawq060721_chla_QC
0 | 3 | 25 | lks | lksbawq | 2021-07-13 10:00 | 2021-07-13 11:30 | 2021-07-20 11:30 | 2021-07-21 07:30 | 9.81 |  | SWMP sonde with fdom | 1.342 | <0> |  | <-2> | 75.78 | <0> | 25.6 | <0> | 96.1 | <0> | 8.25 | <0> | 0.08 | <0> | 0.18 | <0> | 6.11 | <0> | 8.22 | <0> | 22.95 | <0> | 2.14 | <0> | 8.54 | <0> | lksbawq070221_chla_QC
0 | 3 | 26 | lks | lksbawq | 2021-07-13 12:00 | 2021-07-13 11:30 | 2021-07-20 11:30 | 2021-07-21 07:30 | 16.7 |  | SWMP sonde with fdom | 1.37 | <0> |  | <-2> | 75.64 | <0> | 25.55 | <0> | 101.9 | <0> | 8.73 | <0> | 0.08 | <0> | 0.179 | <0> | 6.92 | <0> | 8.35 | <0> | 23.02 | <0> | 1.1 | <0> | 4.36 | <0> | lksbawq070221_chla_QC
0 | 3 | 27 | lks | lksbawq | 2021-07-12 14:00 | 2021-07-13 11:30 | 2021-07-20 11:30 | 2021-07-21 07:30 | 11 |  | SWMP sonde with fdom | 1.514 | <0> |  | <-2> | 76.25 | <0> | 25.76 | <0> | 107.6 | <0> | 9.11 | <0> | 0.08 | <0> | 0.181 | <0> | 6.7 | <0> | 8.55 | <0> | 23.69 | <0> | 1.05 | <0> | 4.13 | <0> | lksbawq070221_chla_QC
0 | 3 | 28 | lks | lksbawq | 2021-07-12 16:00 | 2021-07-13 11:30 | 2021-07-20 11:30 | 2021-07-21 07:30 | 16.66 |  | SWMP sonde with fdom | 1.465 | <0> |  | <-2> | 76.4 | <0> | 25.81 | <0> | 110.2 | <0> | 9.26 | <0> | 0.08 | <0> | 0.18 | <0> | 5.37 | <0> | 8.65 | <0> | 24.09 | <0> | 1.22 | <0> | 4.81 | <0> | lksbawq070221_chla_QC
0 | 3 | 29 | lks | lksbawq | 2021-07-12 18:00 | 2021-07-13 11:30 | 2021-07-20 11:30 | 2021-07-21 07:30 | 14.8 |  | SWMP sonde with fdom | 1.479 | <0> |  | <-2> | 74.19 | <0> | 25.07 | <0> | 110.7 | <0> | 9.25 | <0> | 0.09 | <0> | 0.182 | <0> | 5.75 | <0> | 8.65 | <0> | 24.38 | <0> | 1.44 | <0> | 5.69 | <0> | lksbawq070221_chla_QC
0 | 3 | 30 | lks | lksbawq | 2021-07-12 20:00 | 2021-07-13 11:30 | 2021-07-20 11:30 | 2021-07-21 07:30 | 12.87 |  | SWMP sonde with fdom | 1.408 | <0> |  | <-2> | 75.08 | <0> | 25.36 | <0> | 115.5 | <0> | 9.63 | <0> | 0.08 | <0> | 0.18 | <0> | 4.53 | <0> | 8.71 | <0> | 24.49 | <0> | 0.85 | <0> | 3.36 | <0> | lksbawq070221_chla_QC
0 | 3 | 31 | lks | lksbawq | 2021-07-12 22:00 | 2021-07-13 11:30 | 2021-07-20 11:30 | 2021-07-21 07:30 | 12.31 |  | SWMP sonde with fdom | 1.438 | <0> |  | <-2> | 74.17 | <0> | 25.06 | <0> | 109.8 | <0> | 9.19 | <0> | 0.08 | <0> | 0.18 | <0> | 5.49 | <0> | 8.66 | <0> | 24.27 | <0> | 1.34 | <0> | 5.31 | <0> | lksbawq070221_chla_QC
0 | 3 | 32 | lks | lksbawq | 2021-07-13 | 2021-07-13 11:30 | 2021-07-20 11:30 | 2021-07-21 07:30 | 12.97 |  | SWMP sonde with fdom | 1.431 | <0> |  | <-2> | 75.54 | <0> | 25.52 | <0> | 108.5 | <0> | 9.1 | <0> | 0.08 | <0> | 0.18 | <0> | 4.29 | <0> | 8.6 | <0> | 24.17 | <0> | 1.22 | <0> | 4.82 | <0> | lksbawq070221_chla_QC
0 | 3 | 33 | lks | lksbawq | 2021-07-13 02:00 | 2021-07-13 11:30 | 2021-07-20 11:30 | 2021-07-21 07:30 | 11.34 |  | SWMP sonde with fdom | 1.432 | <0> |  | <-2> | 76.58 | <0> | 25.87 | <0> | 109.2 | <0> | 9.18 | <0> | 0.08 | <0> | 0.18 | <0> | 4.57 | <0> | 8.62 | <0> | 24.01 | <0> | 1.21 | <0> | 4.8 | <0> | lksbawq070221_chla_QC
0 | 3 | 34 | lks | lksbawq | 2021-07-13 04:00 | 2021-07-13 11:30 | 2021-07-20 11:30 | 2021-07-21 07:30 | 5.97 |  | SWMP sonde with fdom | 1.427 | <0> |  | <-2> | 76.32 | <0> | 25.78 | <0> | 103.1 | <0> | 8.71 | <0> | 0.08 | <0> | 0.18 | <0> | 4.94 | <0> | 8.49 | <0> | 23.8 | <0> | 1.06 | <0> | 4.18 | <0> | lksbawq070221_chla_QC
0 | 3 | 35 | lks | lksbawq | 2021-07-13 06:00 | 2021-07-13 11:30 | 2021-07-20 11:30 | 2021-07-21 07:30 | 7.41 |  | SWMP sonde with fdom | 1.457 | <0> |  | <-2> | 76.44 | <0> | 25.82 | <0> | 97.1 | <0> | 8.25 | <0> | 0.09 | <0> | 0.181 | <0> | 5.12 | <0> | 8.37 | <0> | 23.45 | <0> | 0.92 | <0> | 3.62 | <0> | lksbawq070221_chla_QC
0 | 3 | 36 | lks | lksbawq | 2021-07-13 08:00 | 2021-07-13 11:30 | 2021-07-20 11:30 | 2021-07-21 07:30 | 7.49 |  | SWMP sonde with fdom | 1.384 | <0> |  | <-2> | 76.54 | <0> | 25.86 | <0> | 88.6 | <0> | 7.66 | <0> | 0.09 | <0> | 0.183 | <0> | 7.23 | <0> | 8.05 | <0> | 22.62 | <0> | 0.95 | <0> | 3.75 | <0> | lksbawq070221_chla_QC
0 | 4 | 37 | lks | lksbawq | 2021-08-11 10:00 | 2021-08-12 08:45 | 2021-08-18 11:30 | 2021-08-19 09:00 | 67.07 |  | SWMP sonde with fdom | 1.257 | <0> |  | <-2> | 61.3 | <0> | 20.68 | <0> | 91.6 | <0> | 8.02 | <0> | 0.1 | <0> | 0.181 | <0> | 7.62 | <0> | 8 | <0> | 21.91 | <0> | 3.17 | <0> | 12.84 | <0> | lksbawq081121_QC
0 | 4 | 38 | lks | lksbawq | 2021-08-11 12:00 | 2021-08-12 08:45 | 2021-08-18 11:30 | 2021-08-19 09:00 | 24.39 |  | SWMP sonde with fdom | 1.246 | <0> |  | <-2> | 61 | <0> | 20.58 | <0> | 102.4 | <0> | 8.87 | <0> | 0.1 | <0> | 0.181 | <0> | 9.09 | <0> | 8.4 | <0> | 22.44 | <0> | 6.72 | <0> | 27.17 | <0> | lksbawq081121_QC
0 | 4 | 39 | lks | lksbawq | 2021-08-11 14:00 | 2021-08-12 08:45 | 2021-08-18 11:30 | 2021-08-19 09:00 | 74.3 |  | SWMP sonde with fdom | 1.188 | <0> |  | <-2> | 61.4 | <0> | 20.72 | <0> | 106.7 | <0> | 9.2 | <0> | 0.1 | <0> | 0.181 | <0> | 9.27 | <0> | 8.4 | <0> | 22.69 | <0> | 2.19 | <0> | 8.88 | <0> | lksbawq081121_QC
0 | 4 | 40 | lks | lksbawq | 2021-08-11 16:00 | 2021-08-12 08:45 | 2021-08-18 11:30 | 2021-08-19 09:00 | 60.68 |  | SWMP sonde with fdom | 1.175 | <0> |  | <-2> | 61.12 | <0> | 20.62 | <0> | 111.1 | <0> | 9.53 | <0> | 0.1 | <0> | 0.18 | <0> | 9.58 | <0> | 8.6 | <0> | 22.97 | <0> | 5.17 | <0> | 20.94 | <0> | lksbawq081121_QC
0 | 4 | 41 | lks | lksbawq | 2021-08-11 18:00 | 2021-08-12 08:45 | 2021-08-18 11:30 | 2021-08-19 09:00 | 72.12 |  | SWMP sonde with fdom | 1.196 | <0> |  | <-2> | 62.43 | <0> | 21.06 | <0> | 108.1 | <0> | 9.28 | <0> | 0.1 | <0> | 0.179 | <0> | 7.25 | <0> | 8.4 | <0> | 22.96 | <0> | 6.3 | <0> | 25.48 | <0> | lksbawq081121_QC
0 | 4 | 42 | lks | lksbawq | 2021-08-11 20:00 | 2021-08-12 08:45 | 2021-08-18 11:30 | 2021-08-19 09:00 | 50.22 |  | SWMP sonde with fdom | 1.283 | <0> |  | <-2> | 64.13 | <0> | 21.64 | <0> | 94.8 | <0> | 8.15 | <0> | 0.1 | <0> | 0.176 | <0> | 3.91 | <0> | 7.8 | <0> | 22.85 | <0> | 0.73 | <0> | 3.01 | <0> | lksbawq081121_QC
0 | 4 | 43 | lks | lksbawq | 2021-08-11 22:00 | 2021-08-12 08:45 | 2021-08-18 11:30 | 2021-08-19 09:00 | 76.27 |  | SWMP sonde with fdom | 1.132 | <0> |  | <-2> | 63.6 | <0> | 21.46 | <0> | 75 | <0> | 6.48 | <0> | 0.1 | <0> | 0.176 | <0> | 2.42 | <0> | 7.4 | <0> | 22.61 | <0> | 0.73 | <0> | 2.99 | <0> | lksbawq081121_QC
0 | 4 | 44 | lks | lksbawq | 2021-08-12 | 2021-08-12 08:45 | 2021-08-18 11:30 | 2021-08-19 09:00 | 60.45 |  | SWMP sonde with fdom | 1.19 | <0> |  | <-2> | 63.2 | <0> | 21.32 | <0> | 77 | <0> | 6.69 | <0> | 0.1 | <0> | 0.175 | <0> | 2.35 | <0> | 7.5 | <0> | 22.36 | <0> | 0.48 | <0> | 1.98 | <0> | lksbawq081121_QC
0 | 4 | 45 | lks | lksbawq | 2021-08-12 02:00 | 2021-08-12 08:45 | 2021-08-18 11:30 | 2021-08-19 09:00 | 79.95 |  | SWMP sonde with fdom | 1.269 | <0> |  | <-2> | 62.15 | <0> | 20.97 | <0> | 96.6 | <0> | 8.4 | <0> | 0.1 | <0> | 0.181 | <0> | 6.33 | <0> | 8.2 | <0> | 22.27 | <0> | 3.16 | <0> | 12.81 | <0> | lksbawq081121_QC
0 | 4 | 46 | lks | lksbawq | 2021-08-12 04:00 | 2021-08-12 08:45 | 2021-08-18 11:30 | 2021-08-19 09:00 | 92.01 |  | SWMP sonde with fdom | 1.252 | <0> |  | <-2> | 63.82 | <0> | 21.53 | <0> | 71.5 | <0> | 6.24 | <0> | 0.1 | <0> | 0.177 | <0> | 2.22 | <0> | 7.4 | <0> | 22.11 | <0> | 1.16 | <0> | 4.71 | <0> | lksbawq081121_QC
0 | 4 | 47 | lks | lksbawq | 2021-08-12 06:00 | 2021-08-12 08:45 | 2021-08-18 11:30 | 2021-08-19 09:00 | 77.72 |  | SWMP sonde with fdom | 1.242 | <0> |  | <-2> | 63.01 | <0> | 21.26 | <0> | 83.6 | <0> | 7.32 | <0> | 0.1 | <0> | 0.18 | <0> | 3.61 | <0> | 7.7 | <0> | 21.93 | <0> | 2.21 | <0> | 8.97 | <0> | lksbawq081121_QC
0 | 4 | 48 | lks | lksbawq | 2021-08-12 08:00 | 2021-08-12 08:45 | 2021-08-18 11:30 | 2021-08-19 09:00 | 64.14 |  | SWMP sonde with fdom | 1.213 | <0> |  | <-2> | 60.76 | <0> | 20.5 | <0> | 95.5 | <0> | 8.37 | <0> | 0.1 | <0> | 0.183 | <0> | 9.34 | <0> | 8.2 | <0> | 21.87 | <0> | 6.45 | <0> | 26.11 | <0> | lksbawq081121_QC
0 | 5 | 49 | lks | lksbawq | 2021-09-09 10:00 | 2021-09-09 13:00 | 2021-09-20 13:00 | 2021-09-21 08:30 | 28.87 |  | exo logged every minute. No pH sensor failed | 0.919 | <0> |  | <-2> | 47.53 | <0> | 15.9 | <0> | 90.7 | <0> | 8.44 | <0> | 0.08 | <0> | 0.179 | <0> | 8.9 | <0> |  | <-2> | 18.82 | <0> | 1.73 | <0> | 7.13 | <0> | lksbawq090821_chla
0 | 5 | 50 | lks | lksbawq | 2021-09-09 12:00 | 2021-09-10 13:00 | 2021-09-21 13:00 | 2021-09-22 08:30 | 33.17 |  | exo logged every minute. No pH sensor failed | 0.923 | <0> |  | <-2> | 47.96 | <0> | 16.05 | <0> | 92.7 | <0> | 8.59 | <0> | 0.08 | <0> | 0.18 | <0> | 6.7 | <0> |  | <-2> | 19.01 | <0> | 2.8 | <0> | 11.46 | <0> | lksbawq090821_chla
0 | 5 | 51 | lks | lksbawq | 2021-09-09 14:00 | 2021-09-11 13:00 | 2021-09-22 13:00 | 2021-09-23 08:30 | 33.23 |  | exo logged every minute. No pH sensor failed | 0.929 | <0> |  | <-2> | 47.92 | <0> | 16.03 | <0> | 98.4 | <0> | 9.07 | <0> | 0.1 | <0> | 0.179 | <0> | 8.7 | <0> |  | <-2> | 19.3 | <0> | 6.86 | <0> | 27.98 | <0> | lksbawq090821_chla
0 | 5 | 52 | lks | lksbawq | 2021-09-09 16:00 | 2021-09-12 13:00 | 2021-09-23 13:00 | 2021-09-24 08:30 | 34.83 |  | exo logged every minute. No pH sensor failed | 0.932 | <0> |  | <-2> | 48.93 | <0> | 16.37 | <0> | 90.4 | <0> | 8.31 | <0> | 0.1 | <0> | 0.176 | <0> | 3.71 | <0> |  | <-2> | 19.4 | <0> | 1.12 | <0> | 4.65 | <0> | lksbawq090821_chla
0 | 5 | 53 | lks | lksbawq | 2021-09-09 18:00 | 2021-09-13 13:00 | 2021-09-24 13:00 | 2021-09-25 08:30 | 37.81 |  | exo logged every minute. No pH sensor failed | 0.946 | <0> |  | <-2> | 48.31 | <0> | 16.16 | <0> | 97.7 | <0> | 8.99 | <0> | 0.1 | <0> | 0.177 | <0> | 5.43 | <0> |  | <-2> | 19.39 | <0> | 3.3 | <0> | 13.51 | <0> | lksbawq090821_chla
0 | 5 | 54 | lks | lksbawq | 2021-09-09 20:00 | 2021-09-14 13:00 | 2021-09-25 13:00 | 2021-09-26 08:30 | 40.81 |  | exo logged every minute. No pH sensor failed | 0.956 | <0> |  | <-2> | 49.71 | <0> | 16.63 | <0> | 59.2 | <0> | 5.45 | <0> | 0.1 | <0> | 0.176 | <0> | 1.81 | <0> |  | <-2> | 19.36 | <0> | 0.78 | <0> | 3.26 | <0> | lksbawq090821_chla
0 | 5 | 55 | lks | lksbawq | 2021-09-09 22:00 | 2021-09-15 13:00 | 2021-09-26 13:00 | 2021-09-27 08:30 | 30.7 |  | exo logged every minute. No pH sensor failed | 0.96 | <0> |  | <-2> | 49.81 | <0> | 16.66 | <0> | 72.8 | <0> | 6.71 | <0> | 0.1 | <0> | 0.176 | <0> | 3.87 | <0> |  | <-2> | 19.24 | <0> | 0.7 | <0> | 2.94 | <0> | lksbawq090821_chla
0 | 5 | 56 | lks | lksbawq | 2021-09-10 | 2021-09-16 13:00 | 2021-09-27 13:00 | 2021-09-28 08:30 | 38.02 |  | exo logged every minute. No pH sensor failed | 0.961 | <0> |  | <-2> | 50 | <0> | 16.73 | <0> | 71.6 | <0> | 6.62 | <0> | 0.1 | <0> | 0.175 | <0> | 2.13 | <0> |  | <-2> | 19.11 | <0> | 0.73 | <0> | 3.05 | <0> | lksbawq090821_chla
0 | 5 | 57 | lks | lksbawq | 2021-09-09 02:00 | 2021-09-17 13:00 | 2021-09-28 13:00 | 2021-09-29 08:30 | 28.86 |  | exo logged every minute. No pH sensor failed | 0.97 | <0> |  | <-2> | 50.1 | <0> | 16.76 | <0> | 44.2 | <0> | 4.1 | <0> | 0.1 | <0> | 0.177 | <0> | 3.47 | <0> |  | <-2> | 19.03 | <0> | 0.6 | <0> | 2.52 | <0> | lksbawq090821_chla
0 | 5 | 58 | lks | lksbawq | 2021-09-09 04:00 | 2021-09-18 13:00 | 2021-09-29 13:00 | 2021-09-30 08:30 | 26.73 |  | exo logged every minute. No pH sensor failed | 0.975 | <0> |  | <-2> | 50.72 | <0> | 16.97 | <0> | 44.1 | <0> | 4.1 | <0> | 0.1 | <0> | 0.176 | <0> | 1.8 | <0> |  | <-2> | 18.88 | <0> | 0.83 | <0> | 3.45 | <0> | lksbawq090821_chla
0 | 5 | 59 | lks | lksbawq | 2021-09-09 06:00 | 2021-09-19 13:00 | 2021-09-30 13:00 | 2021-10-01 08:30 | 20.28 |  | exo logged every minute. No pH sensor failed | 0.985 | <0> |  | <-2> | 50.19 | <0> | 16.79 | <0> | 48.3 | <0> | 4.5 | <0> | 0.1 | <0> | 0.175 | <0> | 0.46 | <0> |  | <-2> | 18.73 | <0> | 0.73 | <0> | 3.04 | <0> | lksbawq090821_chla
0 | 5 | 60 | lks | lksbawq | 2021-09-09 08:00 | 2021-09-20 13:00 | 2021-10-01 13:00 | 2021-10-02 08:30 | 15.65 |  | exo logged every minute. No pH sensor failed | 0.991 | <0> |  | <-2> | 50.27 | <0> | 16.82 | <0> | 52.5 | <0> | 4.9 | <0> | 0.1 | <0> | 0.175 | <0> | 0.41 | <0> |  | <-2> | 18.67 | <0> | 0.61 | <0> | 2.56 | <0> | lksbawq090821_chla
Note on AM1: ====== ID#AAAAM8kIRJo tc={5C53EFC2-7A6A-47FD-8B94-B1C67583F19C} (2020-12-18 14:33:24) [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: submit primary QC file from CDMO